## SUMMARY
Student Recreation & Athletic Center
Monthly Utility Cost Summary
prepared by Jim Leidel - Energy Manager - phone 4990
| HTHW | Electricity | Natural Gas | Water & Sewer | Monthly Totals | 60% Monthly Totals | 60% Quarterly Totals
2000-07-01 | 20573.532 | 17837.38 | 1829.16 | 3665.22 | 43905.292 | 26343.1752
2000-08-01 | 27094.4273 | 16942.41 | 1498.67 | 3516.63 | 49052.1373 | 29431.2824
2000-09-01 | 28936.5088 | 17533.17 | 2167.7 | 3989.07 | 52626.4488 | 31575.8693 | 87350.3269
2000-10-01 | 36298.8586 | 12838.3 | 1382.01 | 2602.23 | 53121.3986 | 31872.8391
2000-11-01 | 13865.9684 | 11877.73 | 1154.49 | 1512.57 | 28410.7584 | 17046.455
2000-12-01 | 28195.5467 | 11406.19 | 1145.58 | 853.44 | 41600.7567 | 24960.454 | 73879.7481
2001-01-01 | 22016.7191 | 12127.44 | 855.3 | 1203.96 | 36203.4191 | 21722.0515
2001-02-01 | 21439.346 | 8874.7 | 1311.2 | 1020.78 | 32646.026 | 19587.6156
2001-03-01 | 19653.6023 | 10500.13 | 2212.2 | 864.96 | 33230.8923 | 19938.5354 | 61248.2025
2001-04-01 | 10988.8099 | 10264.63 | 1720.19 | 979.17 | 23952.7999 | 14371.6799
2001-05-01 | 22681.8957 | 15754.57 | 2117.47 | 2636.52 | 43190.4557 | 25914.2734
2001-06-01 | 29412.9898 | 16506.35 | 819.95 | 3131.82 | 49871.1098 | 29922.6659 | 70208.6192 | 292686.8967
2001-07-01 | 22676.68 | 17837.38 | 1829.1638 | 3665.3743 | 46008.5982 | 27605.1589
2001-08-01 | 24643.9455 | 16942.41 | 1498.6742 | 3516.7781 | 46601.8078 | 27961.0847
2001-09-01 | 24787.5088 | 17533.17 | 2167.7021 | 3989.238 | 48477.6189 | 29086.5713 | 84652.8149
2001-10-01 | 27359.2941 | 12838.3 | 1382.0134 | 2602.3396 | 44181.947 | 26509.1682
2001-11-01 | 18941.1848 | 11877.73 | 1154.4858 | 1512.6337 | 33486.0343 | 20091.6206
2001-12-01 | 19576.7514 | 11406.19 | 1145.5827 | 853.4759 | 32982 | 19789.2 | 66389.9888
2002-01-01 | 24024.9806 | 12127.44 | 855.301 | 1204.0107 | 38211.7323 | 22927.0394
2002-02-01 | 26232.9537 | 8874.7 | 1311.2003 | 1223.0615 | 37641.9156 | 22585.1493
2002-03-01 | 34338.3245 | 10500.13 | 2212.196 | 1036.3636 | 48087.0142 | 28852.2085 | 74364.3972
2002-04-01 | 23786.4237 | 10264.63 | 1720.1931 | 979.2112 | 36750.458 | 22050.2748
2002-05-01 | 11131.9624 | 15754.57 | 2117.4696 | 2636.631 | 31640.633 | 18984.3798
2002-06-01 | 25451.5702 | 16506.35 | 819.9536 | 3131.9519 | 45909.8257 | 27545.8954 | 68580.55 | 293987.7509 | 0.4445%
2002-07-01 | 4882.7637 | 14335.244 | 1006.0402 | 5639.0374 | 25863.0854 | 15517.8512
2002-08-01 | 8069.6085 | 17211.568 | 240.8428 | 2564.238 | 28086.2573 | 16851.7544
2002-09-01 | 17620.4961 | 17130.96 | 518.1913 | 4198.7968 | 39468.4442 | 23681.0665 | 56050.6721
2002-10-01 | 11518.0872 | 23084.82 | 1478.2438 | 3444.385 | 39525.536 | 23715.3216
2002-11-01 | 13214.6821 | 14990.58 | 846.7426 | 807.754 | 29859.7587 | 17915.8552
2002-12-01 | 19423.8055 | 20493.66 | 1106.7864 | 956.3503 | 41980.6022 | 25188.3613 | 66819.5382
2003-01-01 | 22709.7117 | 19153.2 | 1186.1982 | 1219.2513 | 44268.3612 | 26561.0167
2003-02-01 | 20046.0321 | 19460.1 | 1383.8979 | 1348.7968 | 42238.8268 | 25343.2961
2003-03-01 | 16856.0216 | 21531.84 | 1798.2613 | 1245.9225 | 41432.0454 | 24859.2272 | 76763.54
2003-04-01 | 8366.014 | 19062.78 | 1443.6345 | 1211.631 | 30084.0595 | 18050.4357
2003-05-01 | 7851.8583 | 29314.56 | 1342.1771 | 1234.492 | 39743.0874 | 23845.8524
2003-06-01 | 11505.4072 | 40821.66 | 550.9042 | 3566.3102 | 56444.2816 | 33866.5689 | 75762.8571 | 275396.6074 | -6.324%
2003-07-01 | 18440.73 | 32657.6333 | 796.4709 | 4760.2273 | 56655.0615 | 33993.0369
2003-08-01 | 28638.225 | 32657.6333 | 897.999 | 8827.5401 | 71021.3975 | 42612.8385
2003-09-01 | 15696.45 | 32657.6333 | 433.5369 | 3027.9412 | 51815.5614 | 31089.3368 | 107695.2122
2003-10-01 | 20155.905 | 26241.6 | 1105.7233 | 2728.9439 | 50232.1722 | 30139.3033
2003-11-01 | 21195.405 | 21037.3 | 560.7388 | 2477.4064 | 45270.8503 | 27162.5102
2003-12-01 | 43905.3615 | 27732.6 | 1421.3942 | 1528.2086 | 74587.5642 | 44752.5385 | 102054.352
2004-01-01 | 41447.4637 | 22606.4 | 1586.5233 | 1589.9064 | 67230.2935 | 40338.1761
2004-02-01 | 32317.5353 | 21150.9 | 1560.8495 | 1343.115 | 56372.3997 | 33823.4398
2004-03-01 | 22167.7533 | 20788.8 | 1925.534 | 1447.5267 | 46329.614 | 27797.7684 | 101959.3843
2004-04-01 | 23240.7252 | 29450.8 | 2596.5534 | 2102.4733 | 57390.5519 | 34434.3311
2004-05-01 | 18220.356 | 28449.7 | 1959.3767 | 2126.2032 | 50755.6359 | 30453.3815
2004-06-01 | 18276.489 | 33064.7 | 1730.0631 | 2800.1337 | 55871.3858 | 33522.8315 | 98410.5441 | 410119.4927 | 48.92%
2004-07-27 | 27139.0711 | 54675 | 2398.9903 | 5377.2059 | 89590.2673 | 53754.1604
2004-08-01 | 30835.9373 | 53095.5 | 1774.5243 | 8666.1765 | 94372.1381 | 56623.2829
2004-09-01 | 24096.765 | 45157.5 | 1705.5728 | 4465.9759 | 75425.8138 | 45255.4883 | 155632.9315
2004-10-01 | 21872.3794 | 30690.9 | 2136.1942 | 3763.5695 | 58463.0431 | 35077.8258
2004-11-01 | 24138.1645 | 27297 | 2241.5728 | 1950.6016 | 55627.339 | 33376.4034
2004-12-01 | 34279.9308 | 27410.4 | 2685.8544 | 1167.5134 | 65543.6985 | 39326.2191 | 107780.4483
2005-01-01 | 32626.1873 | 22898.7 | 2639.6699 | 1523.4626 | 59688.0198 | 35812.8119
2005-02-01 | 32728.0078 | 23271.3 | 3048.1748 | 1466.5107 | 60513.9933 | 36308.396
2005-03-01 | 25248.1195 | 17860.5 | 2587.6311 | 920.7219 | 46616.9725 | 27970.1835 | 100091.3914
2005-04-01 | 23530.5984 | 30780 | 4249.6214 | 1741.7781 | 60301.9979 | 36181.1987
2005-05-01 | 13984.0903 | 26138.7 | 3308.3689 | 1551.9385 | 44983.0977 | 26989.8586
2005-06-01 | 14953.0631 | 45724.5 | 2740.4951 | 3806.2834 | 67224.3417 | 40334.605 | 103505.6624 | 467010.4335 | 13.87%
2005-07-01 | 15203.9919 | 54067.5 | 2445.615 | 5111.4305 | 76828.5374 | 46097.1224
2005-08-01 | 36502.929 | 59883.3 | 2164.8247 | 5505.3476 | 104056.4012 | 62433.8407
2005-09-01 | 28318.7311 | 54901.8 | 2251.8012 | 5695.1872 | 91167.5194 | 54700.5116 | 163231.4748
2005-10-01 | 17878.4262 | 34935.3 | 2920.219 | 2752.6738 | 58486.619 | 35091.9714
2005-11-01 | 19853.2647 | 24551.1 | 2767.4965 | 1566.1765 | 48738.0377 | 29242.8226
2005-12-01 | 25198.5578 | 18954 | 2192.9037 | 892.246 | 47237.7074 | 28342.6245 | 92677.4185
2006-01-01 | 39670.7749 | 29508.3 | 3324.968 | 1390.5749 | 73894.6177 | 44336.7706
2006-02-01 | 34842.7298 | 25045.2 | 2867.4852 | 1442.7807 | 64198.1958 | 38518.9175
2006-03-01 | 26231.8619 | 23692.5 | 2972.9528 | 1129.5455 | 54026.8602 | 32416.1161 | 115271.8042
2006-04-01 | 24053.2229 | 27750.6 | 3445.5023 | 1252.9412 | 56502.2665 | 33901.3599
2006-05-01 | 12115.5169 | 27750.6 | 3732.4563 | 1793.984 | 45392.5572 | 27235.5343
2006-06-01 | 12919.5667 | 36077.4 | 2525.0581 | 3431.3503 | 54953.3751 | 32972.025 | 94108.9192 | 465289.6167 | -0.3685%
2006-07-01 | 34689.1801 | 54827.4 | 4237.2117 | 5543.3155 | 99297.1073 | 59578.2644
2006-08-01 | 31834.4579 | 54984 | 3326.4466 | 4499.1979 | 94644.1024 | 56786.4614
2006-09-01 | 44325.7598 | 51182.1 | 2614.066 | 3910.6952 | 102032.6211 | 61219.5726 | 177584.2984
2006-10-01 | 33199.0663 | 32459.7 | 3237.2738 | 2111.9652 | 71008.0053 | 42604.8032
2006-11-01 | 41218.5615 | 33442.8 | 4795.2932 | 1898.3957 | 81355.0504 | 48813.0303
2006-12-01 | 46522.8395 | 28823.1 | 3991.7359 | 1224.4652 | 80562.1406 | 48337.2844 | 139755.1178
2007-01-01 | 42537.9162 | 30058.5 | 4228.1942 | 1205.4813 | 78030.0917 | 46818.055
2007-02-01 | 76388.6021 | 30415.2 | 6233.0796 | 2235.361 | 115272.2426 | 69163.3456
2007-03-01 | 57928.0544 | 27422.4 | 5025.7398 | 1428.5428 | 91804.737 | 55082.8422 | 171064.2428
2007-04-01 | 43355.7371 | 31024.2 | 5584.8233 | 1471.2567 | 81436.017 | 48861.6102
2007-05-01 | 43355.7371 | 31015.5 | 4958.6097 | 1670.5882 | 81000.435 | 48600.261
2007-06-01 | 36663.8984 | 39010.8 | 3766.299 | 3236.7647 | 82677.7622 | 49606.6573 | 147068.5285 | 635472.1876 | 36.58%
2007-07-01 | 38140.615 | 50562 | 4928.0854 | 5401.9251 | 99032.6256 | 59419.5753
2007-08-01 | 46426.5513 | 51669 | 3597.4913 | 4173.7701 | 105866.8126 | 63520.0875
2007-09-01 | 46426.5513 | 53379 | 4534.9049 | 4604.3583 | 108944.8144 | 65366.8886 | 188306.5515
2007-10-01 | 67346.6669 | 36171 | 4408.2874 | 2901.5775 | 110827.5318 | 66496.5191
2007-11-01 | 57104.6022 | 32679 | 5345.701 | 2974.9733 | 98104.2765 | 58862.5659
2007-12-01 | 77669.7985 | 25938 | 6065.4214 | 1639.1711 | 111312.3909 | 66787.4346 | 192146.5195
2008-01-01 | 83098.9034 | 27414 | 5680.0155 | 1296.6578 | 117489.5767 | 70493.746
2008-02-01 | 84881.8267 | 28026 | 7043.9301 | 2035.508 | 121987.2648 | 73192.3589
2008-03-01 | 77624.5986 | 31905 | 7026.1592 | 1834.893 | 118390.6509 | 71034.3905 | 214720.4954
2008-04-01 | 47235.482 | 26244 | 5233.5223 | 1404.3048 | 80117.3092 | 48070.3855
2008-05-01 | 41128.9285 | 29601 | 5004.7223 | 2133.369 | 77868.0198 | 46720.8119
2008-06-01 | 40794.962 | 39654 | 4560.4505 | 3606.1765 | 88615.589 | 53169.3534 | 147960.5508 | 743134.1173 | 16.94%
2008-07-01 | 32828.0576 | 37616.75 | 4840.718 | 3747.0856 | 79032.6111 | 47419.5667
2008-08-01 | 35133.3074 | 42843.85 | 3709.992 | 5164.1845 | 86851.3339 | 52110.8003
2008-09-01 | 32404.4471 | 37583.35 | 3475.415 | 8274.3717 | 81737.5837 | 49042.5502 | 148572.9172
2008-10-01 | 29909.012 | 30694.6 | 5342.302 | 3152.6471 | 69098.561 | 41459.1366
2008-11-01 | 43332.0165 | 29241.7 | 6745.44 | 2494.5187 | 81813.6752 | 49088.2051
2008-12-01 | 48923.1481 | 21175.6 | 5981.173 | 1480.7888 | 77560.7098 | 46536.4259 | 137083.7677
2009-01-01 | 54864.769 | 25926.75 | 7122.709 | 1640.0134 | 89554.2414 | 53732.5448
2009-02-01 | 66509.8398 | 28916.05 | 7090.279 | 2499.8262 | 105015.995 | 63009.597
2009-03-01 | 47470.041 | 22428.1 | 6675.175 | 1905.3877 | 78478.7037 | 47087.2222 | 163829.364
2009-04-01 | 43287.3704 | 26352.6 | 8663.134 | 2276.9118 | 80580.0162 | 48348.0097
2009-05-01 | 23846.1084 | 22695.3 | 6386.548 | 1825.7754 | 54753.7318 | 32852.2391
2009-06-01 | 27985.539 | 36172.2 | 5439.592 | 3481.7112 | 73079.0422 | 43847.4253 | 125047.6741 | 574533.723 | -22.69%
2009-07-01 | 14705.5362 | 41080.5 | 3662.26 | 3885.0802 | 63333.3764 | 38000.0258
2009-08-01 | 10056.9243 | 39618.5 | 3671.584 | 5408.3289 | 58755.3372 | 35253.2023
2009-09-01 | 11440.4616 | 32784.5 | 3434.34 | 3720.5481 | 51379.8497 | 30827.9098 | 104081.138
2009-10-01 | 16362.305 | 27871.5 | 4382.28 | 2414.9064 | 51030.9914 | 30618.5948
2009-11-01 | 25699.469 | 24259 | 5171.712 | 2016.8449 | 57147.0259 | 34288.2155
2009-12-01 | 38929.0537 | 23103 | 5916.596 | 1438.3289 | 69386.9786 | 41632.1872 | 106538.9976
2010-01-01 | 45906.9014 | 21207.5 | 6435.632 | 1411.7914 | 74961.8249 | 44977.0949
2010-02-01 | 49816.702 | 23817 | 5976.684 | 1873.5428 | 81483.9288 | 48890.3573
2010-03-01 | 35973.1402 | 20893 | 5042.212 | 1709.0107 | 63617.3629 | 38170.4177 | 132037.87
2010-04-01 | 26213.1776 | 25484.7 | 5620.3 | 1517.9412 | 58836.1188 | 35301.6713
2010-05-01 | 20101.1479 | 21947.85 | 8302.504 | 1257.8743 | 51609.3762 | 30965.6257
2010-06-01 | 15356.9468 | 34980.9 | 6120.688 | 3253.4893 | 59712.0241 | 35827.2144 | 102094.5115 | 444752.5169 | -22.59%
|  |  | (numbers in red are estimates) |  |  | FY Total | 444752.5169
FY2008 Totals | 707879.4864 | 433242 | 63428.6913 | 34006.6845 | 1238556.8621 |  | 743134.1173
FY2009 Totals | 486493.6561 | 361646.85 | 71472.477 | 37943.2219 | 957556.205 |  | 574533.723
FY2010 Totals | 310561.7657 | 337047.95 | 63736.792 | 29907.6872 | 741254.1949 |  | 444752.5169

## HTHW
SPORTS AND RECREATION CENTER
High Temperature Hot Water Consumption & Cost
Data taken from Honeywell EMS BTU calculation
Billing | Measurement | Date of | Reading | Consumption | Unit Costs | Total Monthly | Partial (60%)
Month | Method | Meter Reading | MMBtu | MMBtu | $ / MMbtu | Cost | Cost
1999-07-01 | EMS | 1999-08-01 |  | 1943.883 | 5.38 | 10458.0905 | 6274.8543 | *
1999-08-01 | EMS | 1999-08-31 |  | 2917.143 | 5.81 | 16948.6008 | 10169.1605
1999-09-01 | EMS | 1999-10-01 |  | 2483.394 | 5.95 | 14776.1943 | 8865.7166
1999-10-01 | EMS | 1999-11-01 |  | 3106.673 | 5.7695 | 17923.9499 | 10754.3699
1999-11-01 | EMS | 1999-12-01 |  | 3230.272 | 5.79 | 18703.2749 | 11221.9649
1999-12-01 | EMS | 2000-01-01 |  | 4260.224 | 5.799 | 24705.039 | 14823.0234
2000-01-01 | EMS | 2000-02-01 |  | 4633.174 | 5.799 | 26867.776 | 16120.6656
2000-02-01 | EMS | 2000-03-01 |  | 4633.487 | 5.86 | 27152.2338 | 16291.3403
2000-03-01 | EMS | 2000-04-01 |  | 1847.23 | 5.89 | 10880.1847 | 6528.1108
2000-04-01 | EMS | 2000-05-01 |  | 1704.294 | 6.5206 | 11113.0195 | 6667.8117
2000-05-01 | EMS | 2000-06-01 |  | 2195.008 | 7.283 | 15986.2433 | 9591.746
2000-06-01 | EMS | 2000-07-01 |  | 2846.4 | 8.504 | 24205.7856 | 14523.4714
Jul-00* | EMS-July 99 + 20% | 1999-08-01 |  | 2332.6 | 8.82 | 20573.532 | 12344.1192
Aug-00* | EMS-Aug 99 + 20% | 1999-09-01 |  | 3500.572 | 7.74 | 27094.4273 | 16256.6564
Sep-00* | EMS-Sep 99 + 20% | 1999-10-01 |  | 2980.073 | 9.71 | 28936.5088 | 17361.9053
Oct-00* | EMS-Oct 99 + 20% | 1999-11-01 |  | 3728.007 | 9.7368 | 36298.8586 | 21779.3151
2000-11-01 | EMS | 2000-12-06 |  | 1407.044 | 9.8547 | 13865.9684 | 8319.581
2000-12-01 | EMS | 2001-01-09 |  | 2599.147 | 10.848 | 28195.5467 | 16917.328
2001-01-01 | EMS | 2001-02-07 |  | 2266.265 | 9.715 | 22016.7191 | 13210.0315
2001-02-01 | EMS | 2001-03-06 |  | 2219.394 | 9.66 | 21439.346 | 12863.6076
2001-03-01 | EMS | 2001-04-04 |  | 2042.994 | 9.62 | 19653.6023 | 11792.1614
2001-04-01 | EMS | 2001-05-01 |  | 1132.867 | 9.7 | 10988.8099 | 6593.2859
2001-05-01 | Estimated using May 2000 |  |  | 2195.008 | 10.3334 | 22681.8957 | 13609.1374 | 1946367 | Actual from May01
2001-06-01 | Estimated using May 2001 |  |  | 2846.4 | 10.3334 | 29412.9898 | 17647.7939 | 1850935 | Actual from June01
2001-07-01 | EMS | 2001-08-01 |  | 2092.601 | 10.8366 | 22676.68 | 13606.008
2001-08-01 | EMS | 2001-09-01 |  | 2274.14 | 10.8366 | 24643.9455 | 14786.3673
2001-09-01 | EMS | 2001-10-01 |  | 2287.388 | 10.8366 | 24787.5088 | 14872.5053
2001-10-01 | EMS | 2001-11-01 |  | 2524.712 | 10.8366 | 27359.2941 | 16415.5764
2001-11-01 | EMS | 2001-12-01 |  | 1747.89 | 10.8366 | 18941.1848 | 11364.7109
2001-12-01 | EMS | 2002-01-01 |  | 1806.54 | 10.8366 | 19576.7514 | 11746.0508
2002-01-01 | EMS | 2002-02-01 |  | 2217.022 | 10.8366 | 24024.9806 | 14414.9884
2002-02-01 | EMS | 2002-03-01 |  | 2420.7735 | 10.8366 | 26232.9537 | 15739.7722
2002-03-01 | EMS | 2002-04-01 |  | 3168.736 | 10.8366 | 34338.3245 | 20602.9947
2002-04-01 | EMS | 2002-05-01 |  | 2195.008 | 10.8366 | 23786.4237 | 14271.8542
2002-05-01 | EMS | 2002-06-01 |  | 1027.256 | 10.8366 | 11131.9624 | 6679.1774
2002-06-01 | estimate | 2002-07-01 |  | 2348.6675 | 10.8366 | 25451.5702 | 15270.9421 | 731532 | Recorded by Honeywell system …….. | Estimated number by averaging
2002-07-01 | EMS | 2002-08-01 |  | 570.683 | 8.556 | 4882.7637 | 2929.6582 |  | Recorded by Honeywell system. | the FY00 and FY01 actual numbers
2002-08-01 | EMS | 2002-09-01 |  | 943.152 | 8.556 | 8069.6085 | 4841.7651 |  |  | for June.
2002-09-01 | EMS | 2002-10-01 |  | 2059.4315 | 8.556 | 17620.4961 | 10572.2977
2002-10-01 | EMS | 2002-11-01 |  | 1346.2 | 8.556 | 11518.0872 | 6910.8523
2002-11-01 | EMS | 2002-12-01 |  | 1544.493 | 8.556 | 13214.6821 | 7928.8093
2002-12-01 | EMS | 2003-01-01 |  | 2270.197 | 8.556 | 19423.8055 | 11654.2833
2003-01-01 | EMS | 2003-02-01 |  | 2654.244 | 8.556 | 22709.7117 | 13625.827
2003-02-01 | EMS | 2003-03-01 |  | 2342.921 | 8.556 | 20046.0321 | 12027.6192
2003-03-01 | EMS | 2003-04-01 |  | 1970.082 | 8.556 | 16856.0216 | 10113.613
2003-04-01 | EMS | 2003-05-01 |  | 977.795 | 8.556 | 8366.014 | 5019.6084
2003-05-01 | EMS | 2003-06-01 |  | 917.702 | 8.556 | 7851.8583 | 4711.115
2003-06-01 | EMS | 2003-07-01 |  | 1344.718 | 8.556 | 11505.4072 | 6903.2443
2003-04-03 | New BTU Meter | 2003-06-03 | 12948 | 2000
2003-06-01 | New BTU Meter | 2003-07-11 | 16053 | 3105 |  |  |  | 22532.7835
2003-07-01 | New BTU Meter | 2003-08-01 | 17827 | 1774 | 10.395 | 18440.73 | 11064.438 | 570683 | Recorded by Honeywell system. | the FY00 and FY01 actual numbers
2003-08-01 | New BTU Meter | 2003-09-02 | 20582 | 2755 | 10.395 | 28638.225 | 17182.935 |  |  | for June.
2003-09-01 | New BTU Meter | 2003-09-24 | 22092 | 1510 | 10.395 | 15696.45 | 9417.87
2003-10-01 | New BTU Meter | 2003-10-24 | 24031 | 1939 | 10.395 | 20155.905 | 12093.543
2003-11-01 | New BTU Meter | 2003-11-21 | 26070 | 2039 | 10.395 | 21195.405 | 12717.243
2003-12-01 | New BTU Meter | 2003-12-29 | 30293.7 | 4223.7 | 10.395 | 43905.3615 | 26343.2169
2004-01-01 | New BTU Meter | 2004-01-29 | 34280.95 | 3987.25 | 10.395 | 41447.4637 | 24868.4782
2004-02-01 | New BTU Meter | 2004-02-25 | 37389.9 | 3108.95 | 10.395 | 32317.5353 | 19390.5212
2004-03-01 | New BTU Meter | 2004-03-23 | 39522.44 | 2132.54 | 10.395 | 22167.7533 | 13300.652
2004-04-01 | New BTU Meter | 2004-04-27 | 41758.2 | 2235.76 | 10.395 | 23240.7252 | 13944.4351
2004-05-01 | New BTU Meter | 2004-05-26 | 43511 | 1752.8 | 10.395 | 18220.356 | 10932.2136 | MMBTU | FY2004 Cost
2004-06-01 | New BTU Meter | 2004-06-23 | 45269.2 | 1758.2 | 10.395 | 18276.489 | 10965.8934 | 29216.2 | 182221.4394
2004-07-27 | New BTU Meter | 2004-07-27 | 47694.7 | 2425.5 | 11.1891 | 27139.0711 | 16283.4427
2004-08-01 | New BTU Meter | 2004-08-30 | 50450.6 | 2755.9 | 11.1891 | 30835.9373 | 18501.5624
2004-09-01 | New BTU Meter | 2004-09-27 | 52604.2 | 2153.6 | 11.1891 | 24096.765 | 14458.059
2004-10-01 | New BTU Meter | 2004-10-28 | 54559 | 1954.8 | 11.1891 | 21872.3794 | 13123.4276
2004-11-01 | New BTU Meter | 2004-11-29 | 56716.3 | 2157.3 | 11.1891 | 24138.1645 | 14482.8987
2004-12-01 | New BTU Meter | 2005-01-03 | 59780 | 3063.7 | 11.1891 | 34279.9308 | 20567.9585
2005-01-01 | New BTU Meter | 2005-01-31 | 62695.9 | 2915.9 | 11.1891 | 32626.1873 | 19575.7124
2005-02-01 | New BTU Meter | 2005-02-28 | 65620.9 | 2925 | 11.1891 | 32728.0078 | 19636.8047
2005-03-01 | New BTU Meter | 2005-03-22 | 67877.4 | 2256.5 | 11.1891 | 25248.1195 | 15148.8717
2005-04-01 | New BTU Meter | 2005-04-26 | 69980.4 | 2103 | 11.1891 | 23530.5984 | 14118.3591
2005-05-01 | New BTU Meter | 2005-05-26 | 71230.2 | 1249.8 | 11.1891 | 13984.0903 | 8390.4542 | MMBTU | FY2005 Cost
2005-06-01 | New BTU Meter | 2005-06-27 | 72566.6 | 1336.4 | 11.1891 | 14953.0631 | 8971.8379 | 27297.4 | 183259.3888
2005-07-01 | New BTU Meter | 2005-07-28 | 73842.3 | 1275.7 | 11.9182 | 15203.9919 | 9122.3952
2005-08-01 | New BTU Meter | 2005-08-29 | 76905.1 | 3062.8 | 11.9182 | 36502.929 | 21901.7574
2005-09-01 | New BTU Meter | 2005-09-28 | 79281.2 | 2376.1 | 11.9182 | 28318.7311 | 16991.2386
2005-10-01 | New BTU Meter | 2005-10-27 | 80781.3 | 1500.1 | 11.9182 | 17878.4262 | 10727.0557
2005-11-01 | New BTU Meter | 2005-11-23 | 82447.1 | 1665.8 | 11.9182 | 19853.2647 | 11911.9588
2005-12-01 | New BTU Meter | 2005-12-15 | 84561.4 | 2114.3 | 11.9182 | 25198.5578 | 15119.1347
2006-01-01 | New BTU Meter | 2006-01-19 | 87890 | 3328.6 | 11.9182 | 39670.7749 | 23802.4649
2006-02-01 | New BTU Meter | 2006-02-17 | 90813.5 | 2923.5 | 11.9182 | 34842.7298 | 20905.6379
2006-03-01 | New BTU Meter | 2006-03-15 | 93014.5 | 2201 | 11.9182 | 26231.8619 | 15739.1171
2006-04-01 | New BTU Meter | 2006-04-17 | 95032.7 | 2018.2 | 11.9182 | 24053.2229 | 14431.9338
2006-05-01 | New BTU Meter | 2006-05-19 | 95953.8 | 1016.5597 | 11.9182 | 12115.5169 | 7269.3101 | MMBTU | FY2006 Cost
2006-06-01 | New BTU Meter | 2006-06-14 | 96569.1 | 1084.0239 | 11.9182 | 12919.5667 | 7751.74 | 24566.6836 | 175673.7443
2006-07-01 | New BTU Meter | 2006-07-17 | 98700.11 | 2131.01 | 16.2783 | 34689.1801 | 20813.5081 | -10%
2006-08-01 | New BTU Meter | 2006-08-15 | 100655.75 | 1955.64 | 16.2783 | 31834.4579 | 19100.6748
2006-09-01 | New BTU Meter | 2006-09-15 | 103378.75 | 2723 | 16.2783 | 44325.7598 | 26595.4559
2006-10-01 | New BTU Meter | 2006-10-13 | 105418.22 | 2039.47 | 16.2783 | 33199.0663 | 19919.4398
2006-11-01 | New BTU Meter | 2006-11-15 | 107950.34 | 2532.12 | 16.2783 | 41218.5615 | 24731.1369
2006-12-01 | New BTU Meter | 2006-12-14 | 110808.31 | 2857.97 | 16.2783 | 46522.8395 | 27913.7037
2007-01-01 | New BTU Meter | 2007-01-15 | 113421.48 | 2613.17 | 16.2783 | 42537.9162 | 25522.7497
2007-02-01 | New BTU Meter | 2007-02-15 | 118114.15 | 4692.67 | 16.2783 | 76388.6021 | 45833.1612
2007-03-01 | New BTU Meter | 2007-03-15 | 121672.76 | 3558.61 | 16.2783 | 57928.0544 | 34756.8327
2007-04-01 | New BTU Meter | 2007-04-16 | 124336.17 | 2663.41 | 16.2783 | 43355.7371 | 26013.4422
2007-05-01 | New BTU Meter | 2007-05-17 | 126999.58 | 2663.41 | 16.2783 | 43355.7371 | 26013.4422 | MMBTU | FY2007 Cost
2007-06-01 | New BTU Meter | 2007-06-13 | 129251.9 | 2252.32 | 16.2783 | 36663.8984 | 21998.3391 | 32682.8 | 319211.8863
2007-07-01 | New BTU Meter | 2007-07-17 | 131336.14 | 2084.24 | 18.2995 | 38140.615 | 22884.369 | 33.04%
2007-08-01 | New BTU Meter | 2007-08-15 | 133873.175 | 2537.035 | 18.2995 | 46426.5513 | 27855.9308
2007-09-01 | New BTU Meter | 2007-09-19 | 136410.21 | 2537.035 | 18.2995 | 46426.5513 | 27855.9308
2007-10-01 | New BTU Meter | 2007-10-15 | 140090.45 | 3680.24 | 18.2995 | 67346.6669 | 40408.0001
2007-11-01 | New BTU Meter | 2007-11-15 | 143211 | 3120.55 | 18.2995 | 57104.6022 | 34262.7613
2007-12-01 | New BTU Meter | 2007-12-14 | 147455.36 | 4244.36 | 18.2995 | 77669.7985 | 46601.8791
2008-01-01 | New BTU Meter | 2008-01-14 | 151996.4 | 4541.04 | 18.2995 | 83098.9034 | 49859.342
2008-02-01 | New BTU Meter | 2008-02-14 | 156634.87 | 4638.47 | 18.2995 | 84881.8267 | 50929.096
2008-03-01 | New BTU Meter | 2008-03-17 | 160876.76 | 4241.89 | 18.2995 | 77624.5986 | 46574.7592
2008-04-01 | New BTU Meter | 2008-04-15 | 163458 | 2581.24 | 18.2995 | 47235.482 | 28341.2892
2008-05-01 | New BTU Meter | 2008-05-15 | 165705.54 | 2247.54 | 18.2995 | 41128.9285 | 24677.3571 | MMBTU | FY2008 Cost
2008-06-01 | New BTU Meter | 2008-06-16 | 167934.83 | 2229.29 | 18.2995 | 40794.962 | 24476.9772 | 38682.93 | 424727.6918
2008-07-01 | New BTU Meter | 2008-07-16 | 169802.48 | 1867.65 | 17.5772 | 32828.0576 | 19696.8345 | 18.36%
2008-08-01 | New BTU Meter | 2008-08-18 | 171801.28 | 1998.8 | 17.5772 | 35133.3074 | 21079.9844
2008-09-01 | New BTU Meter | 2008-09-15 | 173644.83 | 1843.55 | 17.5772 | 32404.4471 | 19442.6682
2008-10-01 | New BTU Meter | 2008-10-15 | 175346.41 | 1701.58 | 17.5772 | 29909.012 | 17945.4072
2008-11-01 | New BTU Meter | 2008-11-18 | 177811.65 | 2465.24 | 17.5772 | 43332.0165 | 25999.2099
2008-12-01 | New BTU Meter | 2008-12-17 | 180594.98 | 2783.33 | 17.5772 | 48923.1481 | 29353.8888
2009-01-01 | New BTU Meter | 2009-01-16 | 183716.34 | 3121.36 | 17.5772 | 54864.769 | 32918.8614
2009-02-01 | New BTU Meter | 2009-02-17 | 187500.21 | 3783.87 | 17.5772 | 66509.8398 | 39905.9039
2009-03-01 | New BTU Meter | 2009-03-17 | 190200.87 | 2700.66 | 17.5772 | 47470.041 | 28482.0246
2009-04-01 | New BTU Meter | 2009-04-20 | 192663.57 | 2462.7 | 17.5772 | 43287.3704 | 25972.4223
2009-05-01 | New BTU Meter | 2009-05-15 | 194020.22 | 1356.65 | 17.5772 | 23846.1084 | 14307.665 | MMBTU | FY2009 Cost
2009-06-01 | New BTU Meter | 2009-06-15 | 195612.37 | 1592.15 | 17.5772 | 27985.539 | 16791.3234 | 27677.54 | 291896.1937
2009-07-01 | New BTU Meter | 2009-07-17 | 196492.34 | 879.97 | 16.7114 | 14705.5362 | 8823.3217 | -28.45%
2009-08-01 | New BTU Meter | 2009-08-17 | 197094.14 | 601.8 | 16.7114 | 10056.9243 | 6034.1546
2009-09-01 | New BTU Meter | 2009-09-15 | 197778.73 | 684.59 | 16.7114 | 11440.4616 | 6864.277
2009-10-01 | New BTU Meter | 2009-10-16 | 198757.84 | 979.11 | 16.7114 | 16362.305 | 9817.383
2009-11-01 | New BTU Meter | 2009-11-16 | 200295.68 | 1537.84 | 16.7114 | 25699.469 | 15419.6814
2009-12-01 | New BTU Meter | 2009-12-15 | 202625.17 | 2329.49 | 16.7114 | 38929.0537 | 23357.4322
2010-01-01 | New BTU Meter | 2010-01-15 | 205372.21 | 2747.04 | 16.7114 | 45906.9014 | 27544.1409
2010-02-01 | New BTU Meter | 2010-02-15 | 208353.21 | 2981 | 16.7114 | 49816.702 | 29890.0212
2010-03-01 | New BTU Meter | 2010-03-15 | 210505.82 | 2152.61 | 16.7114 | 35973.1402 | 21583.8841
2010-04-01 | New BTU Meter | 2010-04-16 | 212074.4 | 1568.58 | 16.7114 | 26213.1776 | 15727.9066
2010-05-01 | New BTU Meter | 2010-05-14 | 213277.24 | 1202.84 | 16.7114 | 20101.1479 | 12060.6887 | MMBTU | FY2010 Cost
2010-06-01 | New BTU Meter | 2010-06-14 | 214196.19 | 918.95 | 16.7114 | 15356.9468 | 9214.1681 | 18583.82 | 186337.0594
*HTHW flow meter readings presumed faulty. July, August,September, October '99 readings + 20% | [7 empty] | -32.86%
substituted, per R. Mora. (20% addition is a result of increased make-up air to HVAC system)
60.36%
71.42%
47.12%
30.11%
37.13%
57.54%
62.38%
83.69%

## Electric
SPORTS AND RECREATION CENTER
Electricity Consumption & Cost
Billing | Date of | Meter Reading | Consumption | Demand | Consm. Cost | Demand Cost | Total Monthly | Partial (60%)
Month | Meter Reading | (kW - Hrs) | (kW- Hrs) | Kw | $ / kWhr | $ / kW | Cost | Cost
1999-06-01 | 1999-07-06 | 3611.22
1999-07-01 | 1999-08-02 | 3868.79 | 257570
1999-08-01 | 1999-08-31 | 4099.34 | 230550 | 761
1999-09-01 | 1999-10-01 | 4337.27 | 237930 | 328 |  |  | 14608.15 | 8764.89
1999-10-01 | 1999-11-01 | 4555.39 | 218120 | 399 |  |  | 15076.64 | 9045.984
1999-11-01 | 1999-12-01 | 4733.26 | 177870 | 290 |  |  | 12241.5 | 7344.9
1999-12-01 | 2000-01-03 | 4916.21 | 182950 | 261 |  |  | 11995.42 | 7197.252
2000-01-01 | 2000-02-04 | 5093.26 | 177050 | 288 |  |  | 12333.25 | 7399.95
2000-02-01 | 2000-03-01 | 146.204 | 146204 | 279 |  |  | 11238.26 | 6742.956 | *
2000-03-01 | 2000-04-05 | 340.907 | 194703 | 284 |  |  | 12775.67 | 7665.402
2000-04-01 | 2000-05-02 | 150.169 | 225000 | 252 |  |  | 10939.69 | 6563.814 | *
2000-05-01 | 2000-06-05 | 400.06 | 249891 | 446 |  |  | 16738.02 | 10042.812
2000-06-01 | 2000-07-05 | 668.232 | 268172 | 459 |  |  | 17489.81 | 10493.886
2000-07-01 | 2000-08-01 | 933.852 | 265620 | 490 |  |  | 17837.38 | 10702.428
2000-08-01 | 2000-08-30 | 1205.82 | 271968 | 482 |  |  | 16942.41 | 10165.446
2000-09-01 | 2000-10-04 | 1520.87 | 315050 | 427 |  |  | 17533.17 | 10519.902
2000-10-01 | 2000-11-01 | 1741.49 | 220620 | 301 |  |  | 12838.3 | 7702.98
2000-11-01 | 2000-12-06 | 1947.29 | 205800 | 265 |  |  | 11877.73 | 7126.638
2000-12-01 | 2001-01-09 | 2133.63 | 186340 | 275 |  |  | 11406.19 | 6843.714
2001-01-01 | 2001-02-07 | 2343 | 209370 | 275 |  |  | 12127.44 | 7276.464
2001-02-01 | 2001-03-06 | 2452.91 | 109910 | 265 |  |  | 8874.7 | 5324.82
2001-03-01 | 2001-04-04 | 2612.52 | 159610 | 270 |  |  | 10500.13 | 6300.078
2001-04-01 | 2001-05-01 | 2764.7 | 152180 | 271 |  |  | 10264.63 | 6158.778
2001-05-01 | 2001-06-06 |  | 249891 | 446 |  |  | 15754.57 | 9452.742 | estimated due to mtr problems
2001-06-01 | 2001-07-02 | 486.827 | 268172 | 459 |  |  | 16506.35 | 9903.81 | estimated due to mtr problems
2001-07-01 | 2000-08-06 | 796.644 | 128412 | 466 | 0.032339 | 18.25 | 12657.2157 | 7594.3294
2001-08-01 | 2001-09-05 | 1076.47 | 279826 | 505 | 0.032339 | 18.25 | 18265.543 | 10959.3258
2001-09-01 | 2001-10-05 | 1302.17 | 225700 | 276 | 0.032339 | 18.25 | 12335.9123 | 7401.5474
2001-10-01 | 2001-11-07 | 1511.24 | 209070 | 261 | 0.032339 | 18.25 | 11524.3647 | 6914.6188
2001-11-01 | 2002-12-05 | 1670.53 | 159290 | 264 | 0.032339 | 18.25 | 9969.2793 | 5981.5676
2001-12-01 | 2002-01-07 | 1848.48 | 177950 | 250 | 0.032339 | 18.25 | 10317.2251 | 6190.335
2002-01-01 | 2002-02-11 | 2044.55 | 196070 | 270 | 0.032339 | 18.25 | 11268.2077 | 6760.9246
2002-02-01 | 2002-03-08 | 2185.13 | 140580 | 269 | 0.032339 | 18.25 | 9455.4666 | 5673.28
2002-03-01 | 2002-04-05 | 2342.2 | 157070 | 307 | 0.032339 | 18.25 | 10682.2367 | 6409.342
2002-04-01 | 2002-05-17 | 2594.19 | 251990 | 260 | 0.032339 | 18.25 | 12894.1046 | 7736.4628
2002-05-01 | 2002-06-14 | 2789.61 | 195420 | 260 | 0.032339 | 18.25 | 11064.6874 | 6638.8124
2002-06-01 | 2002-07-02 | 2946.27 | 156660 | 563 | 0.032339 | 18.25 | 15340.9777 | 9204.5866
2002-07-01 | note 1 | note 1 | 217200.6667 | 478 | 0.066 |  | 14335.244 | 8601.1464
2002-08-01 | note 1 | note 1 | 260781.3333 | 582.6667 | 0.066 |  | 17211.568 | 10326.9408
2002-09-01 | note 1 | note 1 | 259560 | 343.6667 | 0.066 |  | 17130.96 | 10278.576
2002-10-01 | 2002-11-11 | 349770 | 349770 | 620 | 0.066 |  | 23084.82 | 13850.892
2002-11-01 | 2002-12-03 | 576900 | 227130 | 622 | 0.066 |  | 14990.58 | 8994.348
2002-12-01 | 2003-01-03 | 887410 | 310510 | 636 | 0.066 |  | 20493.66 | 12296.196
2003-01-01 | 2003-01-31 | 1177610 | 290200 | 645 | 0.066 |  | 19153.2 | 11491.92
2003-02-01 | 2003-02-28 | 1472460 | 294850 | 638 | 0.066 |  | 19460.1 | 11676.06
2003-03-01 | 2003-03-31 | 1798700 | 326240 | 623 | 0.066 |  | 21531.84 | 12919.104
2003-04-01 | 2003-04-30 | 2087530 | 288830 | 643 | 0.066 |  | 19062.78 | 11437.668
2003-05-01 | 2003-06-03 | 2531690 | 444160 | 925 | 0.066 |  | 29314.56 | 17588.736
2003-06-01 | 2003-07-01 | 3150200 | 618510 | 957 | 0.066 |  | 40821.66 | 24492.996
2003-07-01 | 2003-08-01 | missed | 459966.6667 | >1000 | 0.071 | 0 | 32657.6333 | 19594.58
2003-08-01 | 2003-09-02 | missed | 459966.6667 | 1104 | 0.071 | 0 | 32657.6333 | 19594.58
2003-09-01 | 2003-09-24 | 4530100 | 459966.6667 |  | 0.071 | 0 | 32657.6333 | 19594.58
2003-10-01 | 2003-10-24 | 4899700 | 369600 | 1095 | 0.071 | 0 | 26241.6 | 15744.96
2003-11-01 | 2003-11-21 | 5196000 | 296300 | 984 | 0.071 | 0 | 21037.3 | 12622.38
2003-12-01 | 2004-12-29 | 5586600 | 390600 | 645.5 | 0.071 | 0 | 27732.6 | 16639.56
2004-01-01 | 2004-01-29 | 5905000 | 318400 | 655.1 | 0.071 | 0 | 22606.4 | 13563.84
2004-02-01 | 2004-02-25 | 6202900 | 297900 | 636.9 | 0.071 | 0 | 21150.9 | 12690.54
2004-03-01 | 2004-03-23 | 6495700 | 292800 | 679.4 | 0.071 | 0 | 20788.8 | 12473.28
2004-04-01 | 2004-04-27 | 6910500 | 414800 | 679.4 | 0.071 | 0 | 29450.8 | 17670.48
2004-05-01 | 2004-05-26 | 7311200 | 400700 | 679.4 | 0.071 | 0 | 28449.7 | 17069.82 | kWhours | Cost
2004-06-01 | 2004-06-23 | 7776900 | 465700 | 1434.3 | 0.071 | 0 | 33064.7 | 19838.82 | 4626700 | 197097.42
2004-07-27 | 2004-07-27 | 8451900 | 675000 | 1434.3 | 0.081 | 0 | 54675 | 32805
2004-08-01 | 2004-08-30 | 9107400 | 655500 | 1337.2 | 0.081 | 0 | 53095.5 | 31857.3
2004-09-01 | 2004-09-27 | 9664900 | 557500 | 1235.3 | 0.081 | 0 | 45157.5 | 27094.5
2004-10-01 | 2004-10-28 | 10043800 | 378900 | 1077.1 | 0.081 | 0 | 30690.9 | 18414.54
2004-11-01 | 2004-11-29 | 10380800 | 337000 | 1078.8 | 0.081 | 0 | 27297 | 16378.2
2004-12-01 | 2005-01-03 | 10719200 | 338400 | 611.7 | 0.081 | 0 | 27410.4 | 16446.24
2005-01-01 | 2005-01-31 | 11001900 | 282700 | 625.7 | 0.081 | 0 | 22898.7 | 13739.22
2005-02-01 | 2005-02-28 | 11289200 | 287300 | 694.9 | 0.081 | 0 | 23271.3 | 13962.78
2005-03-01 | 2005-03-22 | 11509700 | 220500 | 599.9 | 0.081 | 0 | 17860.5 | 10716.3
2005-04-01 | 2005-04-26 | 11889700 | 380000 | 998.7 | 0.081 | 0 | 30780 | 18468
2005-05-01 | 2005-05-26 | 12212400 | 322700 | 1023.3 | 0.081 | 0 | 26138.7 | 15683.22 | kWhours | Cost
2005-06-01 | 2005-06-27 | 12776900 | 564500 | 1365.5 | 0.081 | 0 | 45724.5 | 27434.7 | 5000000 | 243000
2005-07-01 | 2005-07-28 | 13444400 | 667500 | 1439.7 | 0.081 | 0 | 54067.5 | 32440.5 | 8.068%
2005-08-01 | 2005-08-29 | 14183700 | 739300 | 1236.5 | 0.081 | 0 | 59883.3 | 35929.98
2005-09-01 | 2005-09-28 | 14861500 | 677800 | 1221.9 | 0.081 | 0 | 54901.8 | 32941.08
2005-10-01 | 2005-10-27 | 15292800 | 431300 | 1229 | 0.081 | 0 | 34935.3 | 20961.18
2005-11-01 | 2005-11-23 | 15595900 | 303100 | 883.9 | 0.081 | 0 | 24551.1 | 14730.66
2005-12-01 | 2005-12-15 | 15829900 | 234000 | 636.2 | 0.081 | 0 | 18954 | 11372.4
2006-01-01 | 2006-01-19 | 16194200 | 364300 | 661.6 | 0.081 | 0 | 29508.3 | 17704.98
2006-02-01 | 2006-02-16 | 16503400 | 309200 | 660.4 | 0.081 | 0 | 25045.2 | 15027.12
2006-03-01 | 2006-03-15 | 16795900 | 292500 | 608.4 | 0.081 | 0 | 23692.5 | 14215.5
2006-04-01 | 2006-04-17 | 17138500 | 342600 | 575.7 | 0.081 | 0 | 27750.6 | 16650.36
2006-05-01 | 2006-05-19 | 17481100 | 342600 | 948.5 | 0.081 | 0 | 27750.6 | 16650.36 | kWhours | Cost
2006-06-01 | 2006-06-14 | 17926500 | 445400 | 1203.8 | 0.081 | 0 | 36077.4 | 21646.44 | 5149600 | 250270.56
2006-07-01 | 2006-07-17 | 18556700 | 630200 | 1221.8 | 0.087 | 0 | 54827.4 | 32896.44 | 2.992%
2006-08-01 | 2006-08-15 | 19188700 | 632000 | 1289.7 | 0.087 | 0 | 54984 | 32990.4
2006-09-01 | 2006-09-15 | 19777000 | 588300 | 1102.2 | 0.087 | 0 | 51182.1 | 30709.26
2006-10-01 | 2006-10-13 | 20150100 | 373100 | 1026.2 | 0.087 | 0 | 32459.7 | 19475.82
2006-11-01 | 2006-11-15 | 20534500 | 384400 | 832.3 | 0.087 | 0 | 33442.8 | 20065.68
2006-12-01 | 2006-12-14 | 20865800 | 331300 | 636.6 | 0.087 | 0 | 28823.1 | 17293.86
2007-01-01 | 2007-01-15 | 21211300 | 345500 | 642 | 0.087 | 0 | 30058.5 | 18035.1
2007-02-01 | 2007-02-15 | 21560900 | 349600 | 637 | 0.087 | 0 | 30415.2 | 18249.12
2007-03-01 | 2007-03-15 | 21876100 | 315200 | 629.8 | 0.087 | 0 | 27422.4 | 16453.44
2007-04-01 | 2007-04-16 | 22232700 | 356600 | 629.8 | 0.087 | 0 | 31024.2 | 18614.52
2007-05-01 | 2007-05-17 | 22589200 | 356500 | 972.1 | 0.087 | 0 | 31015.5 | 18609.3 | kWhours | Cost
2007-06-01 | 2007-06-13 | 23037600 | 448400 | 1167.3 | 0.087 | 0 | 39010.8 | 23406.48 | 5111100 | 266799.42
2007-07-01 | 2007-07-17 | 23599400 | 561800 | 1224.9 | 0.09 | 0 | 50562 | 30337.2 | -0.7476%
2007-08-01 | 2007-08-15 | 24173500 | 574100 | 1258.9 | 0.09 | 0 | 51669 | 31001.4
2007-09-01 | 2007-09-19 | 24766600 | 593100 | 1286 | 0.09 | 0 | 53379 | 32027.4
2007-10-01 | 2007-10-15 | 25168500 | 401900 | 1152.4 | 0.09 | 0 | 36171 | 21702.6
2007-11-01 | 2007-11-15 | 25531600 | 363100 | 977.2 | 0.09 | 0 | 32679 | 19607.4
2007-12-01 | 2007-12-14 | 25819800 | 288200 | 639.2 | 0.09 | 0 | 25938 | 15562.8
2008-01-01 | 2008-01-14 | 26124400 | 304600 | 614.3 | 0.09 | 0 | 27414 | 16448.4
2008-02-01 | 2008-02-14 | 26435800 | 311400 | 619 | 0.09 | 0 | 28026 | 16815.6
2008-03-01 | 2008-03-18 | 26790300 | 354500 | 627.3 | 0.09 | 0 | 31905 | 19143
2008-04-01 | 2008-04-15 | 27081900 | 291600 | 543.5 | 0.09 | 0 | 26244 | 15746.4
2008-05-01 | 5/1508 | 27410800 | 328900 | 747.9 | 0.09 | 0 | 29601 | 17760.6 | kWhours | Cost
2008-06-01 | 2008-06-16 | 27851400 | 440600 | 751.1 | 0.09 | 0 | 39654 | 23792.4 | 4813800 | 259945.2
2008-07-01 | 2008-07-16 | 28301900 | 450500 | 1237.3 | 0.0835 | 0 | 37616.75 | 22570.05 | -5.817%
2008-08-01 | 2008-08-18 | 28815000 | 513100 | 1213 | 0.0835 | 0 | 42843.85 | 25706.31
2008-09-01 | 2008-09-15 | 29265100 | 450100 | 1021.8 | 0.0835 | 0 | 37583.35 | 22550.01
2008-10-01 | 2008-10-15 | 29632700 | 367600 | 892.8 | 0.0835 | 0 | 30694.6 | 18416.76
2008-11-01 | 2008-11-18 | 29982900 | 350200 | 823.1 | 0.0835 | 0 | 29241.7 | 17545.02
2008-12-01 | 2008-12-15 | 30236500 | 253600 | 603 | 0.0835 | 0 | 21175.6 | 12705.36
2009-01-01 | 2009-01-16 | 30547000 | 310500 | 614.3 | 0.0835 | 0 | 25926.75 | 15556.05
2009-02-01 | 2009-02-17 | 30893300 | 346300 | 619 | 0.0835 | 0 | 28916.05 | 17349.63
2009-03-01 | 2009-03-17 | 31161900 | 268600 | 627.3 | 0.0835 | 0 | 22428.1 | 13456.86
2009-04-01 | 2009-04-20 | 31477500 | 315600 | 588 | 0.0835 | 0 | 26352.6 | 15811.56
2009-05-01 | 2009-05-15 | 31749300 | 271800 | 928.9 | 0.0835 | 0 | 22695.3 | 13617.18 | kWhours | Cost
2009-06-01 | 2009-06-15 | 32182500 | 433200 | 1164.8 | 0.0835 | 0 | 36172.2 | 21703.32 | 4331100 | 216988.11
2009-07-01 | 2009-07-17 | 32665800 | 483300 | 1112.3 | 0.085 | 0 | 41080.5 | 24648.3 | -10.03%
2009-08-01 | 2009-08-17 | 33131900 | 466100 | 1083.7 | 0.085 | 0 | 39618.5 | 23771.1
2009-09-01 | 2009-09-15 | 33517600 | 385700 | 1074.7 | 0.085 | 0 | 32784.5 | 19670.7
2009-10-01 | 2009-10-16 | 33845500 | 327900 | 870 | 0.085 | 0 | 27871.5 | 16722.9
2009-11-01 | 2009-11-16 | 34130900 | 285400 | 800 | 0.085 | 0 | 24259 | 14555.4
2009-12-01 | 2009-12-17 | 34402700 | 271800 | 586 | 0.085 | 0 | 23103 | 13861.8
2010-01-01 | 2010-01-15 | 34652200 | 249500 | 564 | 0.085 | 0 | 21207.5 | 12724.5
2010-02-01 | 2010-02-15 | 34932400 | 280200 | 590.7 | 0.085 | 0 | 23817 | 14290.2
2010-03-01 | 2010-03-15 | 35178200 | 245800 | 571.1 | 0.085 | 0 | 20893 | 12535.8
2010-04-01 | 2010-04-16 | 35444600 | 299820 | 571.1 | 0.085 | 0 | 25484.7 | 15290.82
2010-05-01 | 2010-05-14 | 35681300 | 258210 | 828.4 | 0.085 | 0 | 21947.85 | 13168.71 | kWhours | Cost
2010-06-01 | 2010-06-14 | 36119200 | 411540 | 1248.2 | 0.085 | 0 | 34980.9 | 20988.54 | 3965270 | 202228.77
-8.447%
Numbers in Red are Estimates
NOTE 1: New electric meter was installed and was not functional until October 11, 2002

## Nat Gas Usage
SPORTS AND RECREATION CENTER
Natural Gas Consumption & Cost
Billing | Date of | Meter Reading | Consumption | Consumption | Unit Costs | Total Monthly | Partial (60%)
Month | Meter Reading | cu. Ft. x 100 | cu. Ft. x 100 | MCF | $ / MCF | Cost | Cost
2000-07-01 | 2000-08-01 | 27044 | 3716 | 371.6 | 4.9224 | 1829.1638 | 1097.4983
2000-08-01 | 2000-08-30 | 30316 | 3272 | 327.2 | 4.5803 | 1498.6742 | 899.2045
2000-09-01 | 2000-10-04 | 33949 | 3633 | 363.3 | 5.9667 | 2167.7021 | 1300.6213
2000-10-01 | 2000-11-01 | 36263 | 2314 | 231.4 | 5.9724 | 1382.0134 | 829.208
2000-11-01 | 2000-12-06 | 38179 | 1916 | 191.6 | 6.0255 | 1154.4858 | 692.6915
2000-12-01 | 2001-01-09 | 39874 | 1695 | 169.5 | 6.7586 | 1145.5827 | 687.3496
2001-01-01 | 2001-02-07 | 41301 | 1427 | 142.7 | 5.9937 | 855.301 | 513.1806
2001-02-01 | 2001-03-06 | 43518 | 2217 | 221.7 | 5.9143 | 1311.2003 | 786.7202
2001-03-01 | 2001-04-04 | 47278 | 3760 | 376 | 5.8835 | 2212.196 | 1327.3176
2001-04-01 | 2001-05-01 | 50154 | 2876 | 287.6 | 5.9812 | 1720.1931 | 1032.1159
2001-05-01 | 2001-06-01 | 53475 | 3321 | 332.1 | 6.376 | 2117.4696 | 1270.4818
2001-06-01 | 2001-07-02 | 54761 | 1286 | 128.6 | 6.376 | 819.9536 | 491.9722
2001-07-01 | 2000-08-06 | 56268 | 1507 | 150.7 | 6.38 | 961.466 | 576.8796
2001-08-01 | 2001-09-05 | 58010 | 1742 | 174.2 | 6.38 | 1111.396 | 666.8376
2001-09-01 | 2001-10-05 | 60267 | 2257 | 225.7 | 6.38 | 1439.966 | 863.9796
2001-10-01 | 2001-11-07 | 63598 | 3331 | 333.1 | 6.38 | 2125.178 | 1275.1068
2001-11-01 | 2002-12-05 | 65510 | 1912 | 191.2 | 6.38 | 1219.856 | 731.9136
2001-12-01 | 2002-01-07 | 68484 | 2974 | 297.4 | 6.38 | 1897.412 | 1138.4472
2002-01-01 | 2002-02-11 | 71231 | 2747 | 274.7 | 6.38 | 1752.586 | 1051.5516
2002-02-01 | 2002-03-08 | 73280 | 2049 | 204.9 | 6.38 | 1307.262 | 784.3572
2002-03-01 | 2002-04-05 | 76095 | 2815 | 281.5 | 6.38 | 1795.97 | 1077.582
2002-04-01 | 2002-05-17 | 79309 | 3214 | 321.4 | 6.38 | 2050.532 | 1230.3192
2002-05-01 | 2002-06-14 | 81650 | 2341 | 234.1 | 6.38 | 1493.558 | 896.1348
2002-06-01 | 2002-07-02 | 82688 | 1038 | 103.8 | 6.38 | 662.244 | 397.3464
2002-07-01 | 2002-08-08 | 84810 | 2122 | 212.2 | 4.741 | 1006.0402 | 603.6241
2002-08-01 | 2002-09-03 | 85318 | 508 | 50.8 | 4.741 | 240.8428 | 144.5057
2002-09-01 | 2002-10-02 | 86411 | 1093 | 109.3 | 4.741 | 518.1913 | 310.9148
2002-10-01 | 2002-11-11 | 89529 | 3118 | 311.8 | 4.741 | 1478.2438 | 886.9463
2002-11-01 | 2002-12-03 | 91315 | 1786 | 178.6 | 4.741 | 846.7426 | 508.0456
2002-12-01 | 2003-01-03 | 91315 |  | 233.45 | 4.741 | 1106.7864 | 664.0719
2003-01-01 | 2003-01-31 | 93817 | 2502 | 250.2 | 4.741 | 1186.1982 | 711.7189
2003-02-01 | 2003-02-28 | 96736 | 2919 | 291.9 | 4.741 | 1383.8979 | 830.3387
2003-03-01 | 2003-03-31 | 100529 | 3793 | 379.3 | 4.741 | 1798.2613 | 1078.9568
2003-04-01 | 2003-04-30 | 103530 | 3001 | 304.5 | 4.741 | 1443.6345 | 866.1807
2003-05-01 | 2003-06-03 | 107840 | 4310 | 283.1 | 4.741 | 1342.1771 | 805.3063 | MCF | Cost
2003-06-01 | 2003-07-01 | 109445 | 1605 | 116.2 | 4.741 | 550.9042 | 330.5425 | 2721.35 | 7741.1522
2003-07-01 | 2003-08-01 | 110810 | 1365 | 136.5 | 5.835 | 796.4709 | 477.8825
2003-08-01 | 2003-09-02 | 112349 | 1539 | 153.9 | 5.835 | 897.999 | 538.7994
2003-09-01 | 2003-09-24 | 113092 | 743 | 74.3 | 5.835 | 433.5369 | 260.1221
2003-10-01 | 2003-10-24 | 114987 | 1895 | 189.5 | 5.835 | 1105.7233 | 663.434
2003-11-01 | 2003-11-21 | 115948 | 961 | 96.1 | 5.835 | 560.7388 | 336.4433
2003-12-01 | 2003-12-29 | 118384 | 2436 | 243.6 | 5.835 | 1421.3942 | 852.8365
2004-01-01 | 2004-01-29 | 121103 | 2719 | 271.9 | 5.835 | 1586.5233 | 951.914
2004-02-01 | 2004-02-25 | 123778 | 2675 | 267.5 | 5.835 | 1560.8495 | 936.5097
2004-03-01 | 2004-03-23 | 127078 | 3300 | 330 | 5.835 | 1925.534 | 1155.3204
2004-04-01 | 2004-04-27 | 131528 | 4450 | 445 | 5.835 | 2596.5534 | 1557.932
2004-05-01 | 2004-05-26 | 134886 | 3358 | 335.8 | 5.835 | 1959.3767 | 1175.626 | MCF | Cost
2004-06-01 | 2004-06-23 | 137851 | 2965 | 296.5 | 5.835 | 1730.0631 | 1038.0379 | 2840.6 | 9944.8579
2004-07-27 | 2004-07-27 | 141539 | 3688 | 368.8 | 6.5049 | 2398.9903 | 1439.3942 | 4.382%
2004-08-01 | 2004-08-30 | 144267 | 2728 | 272.8 | 6.5049 | 1774.5243 | 1064.7146
2004-09-01 | 2004-09-27 | 146889 | 2622 | 262.2 | 6.5049 | 1705.5728 | 1023.3437
2004-10-01 | 2004-10-28 | 150173 | 3284 | 328.4 | 6.5049 | 2136.1942 | 1281.7165
2004-11-01 | 2004-11-29 | 153619 | 3446 | 344.6 | 6.5049 | 2241.5728 | 1344.9437
2004-12-01 | 2005-01-03 | 157748 | 4129 | 412.9 | 6.5049 | 2685.8544 | 1611.5126
2005-01-01 | 2005-01-31 | 161806 | 4058 | 405.8 | 6.5049 | 2639.6699 | 1583.8019
2005-02-01 | 2005-02-28 | 166492 | 4686 | 468.6 | 6.5049 | 3048.1748 | 1828.9049
2005-03-01 | 2005-03-22 | 170470 | 3978 | 397.8 | 6.5049 | 2587.6311 | 1552.5786
2005-04-01 | 2005-04-26 | 177003 | 6533 | 653.3 | 6.5049 | 4249.6214 | 2549.7728
2005-05-01 | 2005-05-26 | 182089 | 5086 | 508.6 | 6.5049 | 3308.3689 | 1985.0214 | MCF | Cost
2005-06-01 | 2005-06-27 | 186302 | 4213 | 421.3 | 6.5049 | 2740.4951 | 1644.2971 | 4845.1 | 18910.0019
2005-07-01 | 2005-07-28 | 189873 | 3571 | 357.1 | 6.8485 | 2445.615 | 1467.369 | 70.57%
2005-08-01 | 2005-08-29 | 193034 | 3161 | 316.1 | 6.8485 | 2164.8247 | 1298.8948
2005-09-01 | 2005-09-28 | 196322 | 3288 | 328.8 | 6.8485 | 2251.8012 | 1351.0807
2005-10-01 | 2005-10-27 | 200586 | 4264 | 426.4 | 6.8485 | 2920.219 | 1752.1314
2005-11-01 | 2005-11-23 | 204627 | 4041 | 404.1 | 6.8485 | 2767.4965 | 1660.4979
2005-12-01 | 2005-12-15 | 207829 | 3202 | 320.2 | 6.8485 | 2192.9037 | 1315.7422
2006-01-01 | 2006-01-19 | 212684 | 4855 | 485.5 | 6.8485 | 3324.968 | 1994.9808
2006-02-01 | 2006-02-16 | 216871 | 4187 | 418.7 | 6.8485 | 2867.4852 | 1720.4911
2006-03-01 | 2006-03-15 | 221212 | 4341 | 434.1 | 6.8485 | 2972.9528 | 1783.7717
2006-04-01 | 2006-04-17 | 226243 | 5031 | 503.1 | 6.8485 | 3445.5023 | 2067.3014
2006-05-01 | 2006-05-19 | 231693 | 5450 | 545 | 6.8485 | 3732.4563 | 2239.4738 | MCF | Cost
2006-06-01 | 2006-06-14 | 235380 | 3687 | 368.7 | 6.8485 | 2525.0581 | 1515.0348 | 4907.8 | 20166.7696
2006-07-01 | 2006-07-17 | 239609 | 4229 | 422.9 | 10.0194 | 4237.2117 | 2542.327 | 1.294%
2006-08-01 | 2006-08-15 | 242929 | 3320 | 332 | 10.0194 | 3326.4466 | 1995.868
2006-09-01 | 2006-09-15 | 245538 | 2609 | 260.9 | 10.0194 | 2614.066 | 1568.4396
2006-10-01 | 2006-10-13 | 248769 | 3231 | 323.1 | 10.0194 | 3237.2738 | 1942.3643
2006-11-01 | 2006-11-15 | 253555 | 4786 | 478.6 | 10.0194 | 4795.2932 | 2877.1759
2006-12-01 | 2006-12-14 | 257539 | 3984 | 398.4 | 10.0194 | 3991.7359 | 2395.0416
2007-01-01 | 2007-01-15 | 261759 | 4220 | 422 | 10.0194 | 4228.1942 | 2536.9165
2007-02-01 | 2007-02-15 | 267980 | 6221 | 622.1 | 10.0194 | 6233.0796 | 3739.8478
2007-03-01 | 2007-03-15 | 272996 | 5016 | 501.6 | 10.0194 | 5025.7398 | 3015.4439
2007-04-01 | 2007-04-16 | 278570 | 5574 | 557.4 | 10.0194 | 5584.8233 | 3350.894
2007-05-01 | 2007-05-17 | 283519 | 4949 | 494.9 | 10.0194 | 4958.6097 | 2975.1658 | MCF | Cost
2007-06-01 | 2007-06-13 | 287278 | 3759 | 375.9 | 10.0194 | 3766.299 | 2259.7794 | 5189.8 | 31199.2637
2007-07-01 | 2007-07-17 | 291715 | 4437 | 443.7 | 11.1068 | 4928.0854 | 2956.8513 | 5.746%
2007-08-01 | 2007-08-15 | 294954 | 3239 | 323.9 | 11.1068 | 3597.4913 | 2158.4948
2007-09-01 | 2007-09-19 | 299037 | 4083 | 408.3 | 11.1068 | 4534.9049 | 2720.9429
2007-10-01 | 2007-10-15 | 303006 | 3969 | 396.9 | 11.1068 | 4408.2874 | 2644.9724
2007-11-01 | 2007-11-15 | 307819 | 4813 | 481.3 | 11.1068 | 5345.701 | 3207.4206
2007-12-01 | 2007-12-14 | 313280 | 5461 | 546.1 | 11.1068 | 6065.4214 | 3639.2528
2008-01-01 | 2008-01-14 | 318394 | 5114 | 511.4 | 11.1068 | 5680.0155 | 3408.0093
2008-02-01 | 2008-02-14 | 324736 | 6342 | 634.2 | 11.1068 | 7043.9301 | 4226.3581
2008-03-01 | 2008-03-17 | 331062 | 6326 | 632.6 | 11.1068 | 7026.1592 | 4215.6955
2008-04-01 | 2008-04-15 | 335774 | 4712 | 471.2 | 11.1068 | 5233.5223 | 3140.1134
2008-05-01 | 2008-05-15 | 340280 | 4506 | 450.6 | 11.1068 | 5004.7223 | 3002.8334 | MCF | Cost
2008-06-01 | 2008-06-16 | 344386 | 4106 | 410.6 | 11.1068 | 4560.4505 | 2736.2703 | 5710.8 | 38057.2148
2008-07-01 | 2008-07-16 | 348864 | 4478 | 447.8 | 10.81 | 4840.718 | 2904.4308 | 10.04%
2008-08-01 | 2008-08-18 | 352296 | 3432 | 343.2 | 10.81 | 3709.992 | 2225.9952
2008-09-01 | 2008-09-15 | 355511 | 3215 | 321.5 | 10.81 | 3475.415 | 2085.249
2008-10-01 | 2008-10-15 | 360453 | 4942 | 494.2 | 10.81 | 5342.302 | 3205.3812
2008-11-01 | 2008-11-18 | 366693 | 6240 | 624 | 10.81 | 6745.44 | 4047.264
2008-12-01 | 2008-12-15 | 372226 | 5533 | 553.3 | 10.81 | 5981.173 | 3588.7038
2009-01-01 | 2009-01-16 | 378815 | 6589 | 658.9 | 10.81 | 7122.709 | 4273.6254
2009-02-01 | 2009-02-17 | 385374 | 6559 | 655.9 | 10.81 | 7090.279 | 4254.1674
2009-03-01 | 2009-03-17 | 391549 | 6175 | 617.5 | 10.81 | 6675.175 | 4005.105
2009-04-01 | 2009-04-20 | 399563 | 8014 | 801.4 | 10.81 | 8663.134 | 5197.8804
2009-05-01 | 2009-05-15 | 405471 | 5908 | 590.8 | 10.81 | 6386.548 | 3831.9288 | MCF | Cost
2009-06-01 | 2009-06-15 | 410503 | 5032 | 503.2 | 10.81 | 5439.592 | 3263.7552 | 6611.7 | 42883.4862
2009-07-01 | 2009-07-17 | 414038 | 3535 | 353.5 | 10.36 | 3662.26 | 2197.356 | 15.78%
2009-08-01 | 2009-08-17 | 417582 | 3544 | 354.4 | 10.36 | 3671.584 | 2202.9504
2009-09-01 | 2009-09-15 | 420897 | 3315 | 331.5 | 10.36 | 3434.34 | 2060.604
2009-10-01 | 2009-10-16 | 425127 | 4230 | 423 | 10.36 | 4382.28 | 2629.368
2009-11-01 | 2009-11-16 | 430119 | 4992 | 499.2 | 10.36 | 5171.712 | 3103.0272
2009-12-01 | 2009-12-15 | 435830 | 5711 | 571.1 | 10.36 | 5916.596 | 3549.9576
2010-01-01 | 2010-01-15 | 442042 | 6212 | 621.2 | 10.36 | 6435.632 | 3861.3792
2010-02-01 | 2010-02-15 | 447811 | 5769 | 576.9 | 10.36 | 5976.684 | 3586.0104
2010-03-01 | 2010-03-15 | 452678 | 4867 | 486.7 | 10.36 | 5042.212 | 3025.3272
2010-04-01 | 2010-04-16 | 458103 | 5425 | 542.5 | 10.36 | 5620.3 | 3372.18
2010-05-01 | 2010-05-14 | OFF |  | 801.4 | 10.36 | 8302.504 | 4981.5024 | MCF | Cost
2010-06-01 | 2010-06-14 | OFF |  | 590.8 | 10.36 | 6120.688 | 3672.4128 | 6152.2 | 38242.0752
-6.95%

## Water Usage
SPORTS AND RECREATION CENTER
Water and Sewer Consumption & Costs
Billing | Date of | Meter Reading | Consumption | Consumption | Unit Cost | Total Monthly | Partial (60%)
Month | Meter Reading | gal. X 1000 | gal X 1000 | cubic feet | $ / cu ft | Cost | Cost
2000-07-01 | 2000-08-01 | 14759 | 962 | 128609.6257 | 0.0285 | 3665.3743 | 2199.2246
2000-08-01 | 2000-08-30 | 15682 | 923 | 123395.7219 | 0.0285 | 3516.7781 | 2110.0668
2000-09-01 | 2000-10-04 | 16729 | 1047 | 139973.262 | 0.0285 | 3989.238 | 2393.5428
2000-10-01 | 2000-11-01 | 17412 | 683 | 91310.1604 | 0.0285 | 2602.3396 | 1561.4037
2000-11-01 | 2000-12-06 | 17809 | 397 | 53074.8663 | 0.0285 | 1512.6337 | 907.5802
2000-12-01 | 2001-01-09 | 18033 | 224 | 29946.5241 | 0.0285 | 853.4759 | 512.0856
2001-01-01 | 2001-02-07 | 18349 | 316 | 42245.9893 | 0.0285 | 1204.0107 | 722.4064
2001-02-01 | 2001-03-06 | 18670 | 321 | 42914.4385 | 0.0285 | 1223.0615 | 733.8369 | *
2001-03-01 | 2001-04-04 | 18942 | 272 | 36363.6364 | 0.0285 | 1036.3636 | 621.8182 | *
2001-04-01 | 2001-05-01 | 19199 | 257 | 34358.2888 | 0.0285 | 979.2112 | 587.5267
2001-05-01 | 2001-06-01 | 19891 | 692 | 92513.369 | 0.0285 | 2636.631 | 1581.9786
2001-06-01 | 2001-07-02 | 20713 | 822 | 109893.0481 | 0.0285 | 3131.9519 | 1879.1711
2001-07-01 | 2000-08-06 | 22158 | 962 | 128609.6257 | 0.0285 | 3665.3743 | 2199.2246
2001-08-01 | 2001-09-05 | 23327 | 1169 | 156283.4225 | 0.0285 | 4454.0775 | 2672.4465
2001-09-01 | 2001-10-05 | 24049 | 722 | 96524.0642 | 0.0285 | 2750.9358 | 1650.5615
2001-10-01 | 2001-11-07 | 24564 | 515 | 68850.2674 | 0.0285 | 1962.2326 | 1177.3396
2001-11-01 | 2002-12-05 | 24878 | 314 | 41978.6096 | 0.0285 | 1196.3904 | 717.8342
2001-12-01 | 2002-01-07 | 25148 | 270 | 36096.2567 | 0.0285 | 1028.7433 | 617.246
2002-01-01 | 2002-02-11 | 25579 | 431 | 57620.3209 | 0.0285 | 1642.1791 | 985.3075
2002-02-01 | 2002-03-08 | 25899 | 320 | 42780.7487 | 0.0285 | 1219.2513 | 731.5508
2002-03-01 | 2002-04-05 | 26199 | 300 | 40106.9519 | 0.0285 | 1143.0481 | 685.8289
2002-04-01 | 2002-05-17 | 26671 | 472 | 63101.6043 | 0.0285 | 1798.3957 | 1079.0374
2002-05-01 | 2002-06-14 | 27236 | 565 | 75534.7594 | 0.0285 | 2152.7406 | 1291.6444
2002-06-01 | 2002-07-02 | 27869 | 633 | 84625.6684 | 0.0285 | 2411.8316 | 1447.0989
2002-07-01 | 2002-08-08 | 29349 | 1480 | 197860.9626 | 0.0285 | 5639.0374 | 3383.4225
2002-08-01 | 2002-09-03 | 30022 | 673 | 89973.262 | 0.0285 | 2564.238 | 1538.5428
2002-09-01 | 2002-10-02 | 31124 | 1102 | 147326.2032 | 0.0285 | 4198.7968 | 2519.2781
2002-10-01 | 2002-11-11 | 32028 | 904 | 120855.615 | 0.0285 | 3444.385 | 2066.631
2002-11-01 | 2002-12-03 | 32240 | 212 | 28342.246 | 0.0285 | 807.754 | 484.6524
2002-12-01 | 2003-01-03 | 32491 | 251 | 33556.1497 | 0.0285 | 956.3503 | 573.8102
2003-01-01 | 2003-01-31 | 32811 | 320 | 42780.7487 | 0.0285 | 1219.2513 | 731.5508
2003-02-01 | 2003-02-28 | 33165 | 354 | 47326.2032 | 0.0285 | 1348.7968 | 809.2781
2003-03-01 | 2003-03-31 | 33492 | 327 | 43716.5775 | 0.0285 | 1245.9225 | 747.5535
2003-04-01 | 2003-04-30 | 33810 | 318 | 42513.369 | 0.0285 | 1211.631 | 726.9786
2003-05-01 | 2003-06-03 | 34134 | 324 | 43315.508 | 0.0285 | 1234.492 | 740.6952
2003-06-01 | 2003-07-01 | 35070 | 936 | 125133.6898 | 0.0285 | 3566.3102 | 2139.7861
2003-07-01 | 2003-08-01 | 36073 | 1003 | 134090.9091 | 0.0355 | 4760.2273 | 2856.1364
2003-08-01 | 2003-09-02 | 37933 | 1860 | 248663.1016 | 0.0355 | 8827.5401 | 5296.5241
2003-09-01 | 2003-09-24 | 38571 | 638 | 85294.1176 | 0.0355 | 3027.9412 | 1816.7647
2003-10-01 | 2003-10-24 | 39146 | 575 | 76871.6578 | 0.0355 | 2728.9439 | 1637.3663
2003-11-01 | 2003-11-21 | 39668 | 522 | 69786.0963 | 0.0355 | 2477.4064 | 1486.4439
2003-12-01 | 2003-12-29 | 39990 | 322 | 43048.1283 | 0.0355 | 1528.2086 | 916.9251
2004-01-01 | 2004-01-29 | 40325 | 335 | 44786.0963 | 0.0355 | 1589.9064 | 953.9439
2004-02-01 | 2004-02-25 | 40608 | 283 | 37834.2246 | 0.0355 | 1343.115 | 805.869
2004-03-01 | 2004-03-23 | 40913 | 305 | 40775.4011 | 0.0355 | 1447.5267 | 868.516
2004-04-01 | 2004-04-27 | 41356 | 443 | 59224.5989 | 0.0355 | 2102.4733 | 1261.484
2004-05-01 | 2004-05-26 | 41804 | 448 | 59893.0481 | 0.0355 | 2126.2032 | 1275.7219 | cubic feet | Cost
2004-06-01 | 2004-06-23 | 42394 | 590 | 78877.0053 | 0.0355 | 2800.1337 | 1680.0802 | 979144.385 | 20855.7754
2004-07-27 | 2004-07-27 | 43527 | 1133 | 151470.5882 | 0.0355 | 5377.2059 | 3226.3235
2004-08-01 | 2004-08-30 | 45353 | 1826 | 244117.6471 | 0.0355 | 8666.1765 | 5199.7059
2004-09-01 | 2004-09-27 | 46294 | 941 | 125802.139 | 0.0355 | 4465.9759 | 2679.5856
2004-10-01 | 2004-10-28 | 47087 | 793 | 106016.0428 | 0.0355 | 3763.5695 | 2258.1417
2004-11-01 | 2004-11-29 | 47498 | 411 | 54946.5241 | 0.0355 | 1950.6016 | 1170.361
2004-12-01 | 2005-01-03 | 47744 | 246 | 32887.7005 | 0.0355 | 1167.5134 | 700.508
2005-01-01 | 2005-01-31 | 48065 | 321 | 42914.4385 | 0.0355 | 1523.4626 | 914.0775
2005-02-01 | 2005-02-28 | 48374 | 309 | 41310.1604 | 0.0355 | 1466.5107 | 879.9064
2005-03-01 | 2005-03-22 | 48568 | 194 | 25935.8289 | 0.0355 | 920.7219 | 552.4332
2005-04-01 | 2005-04-26 | 48935 | 367 | 49064.1711 | 0.0355 | 1741.7781 | 1045.0668
2005-05-01 | 2005-05-26 | 49262 | 327 | 43716.5775 | 0.0355 | 1551.9385 | 931.1631 | cubic feet | Cost
2005-06-01 | 2005-06-27 | 50064 | 802 | 107219.2513 | 0.0355 | 3806.2834 | 2283.7701 | 1025401.0695 | 21841.0428
2005-07-01 | 2005-07-28 | 51141 | 1077 | 143983.9572 | 0.0355 | 5111.4305 | 3066.8583
2005-08-01 | 2005-08-29 | 52301 | 1160 | 155080.2139 | 0.0355 | 5505.3476 | 3303.2086
2005-09-01 | 2005-09-28 | 53501 | 1200 | 160427.8075 | 0.0355 | 5695.1872 | 3417.1123
2005-10-01 | 2005-10-27 | 54081 | 580 | 77540.107 | 0.0355 | 2752.6738 | 1651.6043
2005-11-01 | 2005-11-23 | 54411 | 330 | 44117.6471 | 0.0355 | 1566.1765 | 939.7059
2005-12-01 | 2005-12-15 | 54599 | 188 | 25133.6898 | 0.0355 | 892.246 | 535.3476
2006-01-01 | 2006-01-19 | 54892 | 293 | 39171.123 | 0.0355 | 1390.5749 | 834.3449
2006-02-01 | 2006-02-16 | 55196 | 304 | 40641.7112 | 0.0355 | 1442.7807 | 865.6684
2006-03-01 | 2006-03-15 | 55434 | 238 | 31818.1818 | 0.0355 | 1129.5455 | 677.7273
2006-04-01 | 2006-04-17 | 55698 | 264 | 35294.1176 | 0.0355 | 1252.9412 | 751.7647
2006-05-01 | 2006-05-19 | 56076 | 378 | 50534.7594 | 0.0355 | 1793.984 | 1076.3904 | cubic feet | Cost
2006-06-01 | 2006-06-14 | 56799 | 723 | 96657.754 | 0.0355 | 3431.3503 | 2058.8102 | 900401.0695 | 19178.5428
2006-07-01 | 2006-07-17 | 57967 | 1168 | 156149.7326 | 0.0355 | 5543.3155 | 3325.9893
2006-08-01 | 2006-08-15 | 58915 | 948 | 126737.9679 | 0.0355 | 4499.1979 | 2699.5187
2006-09-01 | 2006-09-15 | 59739 | 824 | 110160.4278 | 0.0355 | 3910.6952 | 2346.4171
2006-10-01 | 2006-10-13 | 60184 | 445 | 59491.9786 | 0.0355 | 2111.9652 | 1267.1791
2006-11-01 | 2006-11-15 | 60584 | 400 | 53475.9358 | 0.0355 | 1898.3957 | 1139.0374
2006-12-01 | 2006-12-14 | 60842 | 258 | 34491.9786 | 0.0355 | 1224.4652 | 734.6791
2007-01-01 | 2007-01-15 | 61096 | 254 | 33957.2193 | 0.0355 | 1205.4813 | 723.2888
2007-02-01 | 2007-02-15 | 61567 | 471 | 62967.9144 | 0.0355 | 2235.361 | 1341.2166
2007-03-01 | 2007-03-15 | 61868 | 301 | 40240.6417 | 0.0355 | 1428.5428 | 857.1257
2007-04-01 | 2007-04-16 | 62178 | 310 | 41443.8503 | 0.0355 | 1471.2567 | 882.754
2007-05-01 | 2007-05-17 | 62530 | 352 | 47058.8235 | 0.0355 | 1670.5882 | 1002.3529 | cubic feet | Cost
2007-06-01 | 2007-06-13 | 63212 | 682 | 91176.4706 | 0.0355 | 3236.7647 | 1942.0588 | 857352.9412 | 18261.6176
2007-07-01 | 2007-07-17 | 64316 | 1104 | 147593.5829 | 0.0366 | 5401.9251 | 3241.1551 | -4.781%
2007-08-01 | 2007-08-15 | 65169 | 853 | 114037.4332 | 0.0366 | 4173.7701 | 2504.262
2007-09-01 | 2007-09-19 | 66110 | 941 | 125802.139 | 0.0366 | 4604.3583 | 2762.615
2007-10-01 | 2007-10-15 | 66703 | 593 | 79278.0749 | 0.0366 | 2901.5775 | 1740.9465
2007-11-01 | 2007-11-15 | 67311 | 608 | 81283.4225 | 0.0366 | 2974.9733 | 1784.984
2007-12-01 | 2007-12-14 | 67646 | 335 | 44786.0963 | 0.0366 | 1639.1711 | 983.5027
2008-01-01 | 2008-01-14 | 67911 | 265 | 35427.8075 | 0.0366 | 1296.6578 | 777.9947
2008-02-01 | 2008-02-14 | 68327 | 416 | 55614.9733 | 0.0366 | 2035.508 | 1221.3048
2008-03-01 | 2008-03-17 | 68702 | 375 | 50133.6898 | 0.0366 | 1834.893 | 1100.9358
2008-04-01 | 2008-04-15 | 68989 | 287 | 38368.984 | 0.0366 | 1404.3048 | 842.5829
2008-05-01 | 2008-05-15 | 69425 | 436 | 58288.7701 | 0.0366 | 2133.369 | 1280.0214 | cubic feet | Cost
2008-06-01 | 2008-06-16 | 70162 | 737 | 98529.4118 | 0.0366 | 3606.1765 | 2163.7059 | 929144.385 | 20404.0107
2008-07-01 | 2008-07-16 | 70868 | 706 | 94385.0267 | 0.0397 | 3747.0856 | 2248.2513 | 8.374%
2008-08-01 | 2008-08-18 | 71841 | 973 | 130080.2139 | 0.0397 | 5164.1845 | 3098.5107
2008-09-01 | 2008-09-15 | 73400 | 1559 | 208422.4599 | 0.0397 | 8274.3717 | 4964.623
2008-10-01 | 2008-10-15 | 73994 | 594 | 79411.7647 | 0.0397 | 3152.6471 | 1891.5882
2008-11-01 | 2008-11-18 | 74464 | 470 | 62834.2246 | 0.0397 | 2494.5187 | 1496.7112
2008-12-01 | 2008-12-15 | 74743 | 279 | 37299.4652 | 0.0397 | 1480.7888 | 888.4733
2009-01-01 | 2009-01-16 | 75052 | 309 | 41310.1604 | 0.0397 | 1640.0134 | 984.008
2009-02-01 | 2009-02-17 | 75523 | 471 | 62967.9144 | 0.0397 | 2499.8262 | 1499.8957
2009-03-01 | 2009-03-17 | 75882 | 359 | 47994.6524 | 0.0397 | 1905.3877 | 1143.2326
2009-04-01 | 2009-04-20 | 76311 | 429 | 57352.9412 | 0.0397 | 2276.9118 | 1366.1471
2009-05-01 | 2009-05-15 | 76655 | 344 | 45989.3048 | 0.0397 | 1825.7754 | 1095.4652 | cubic feet | Cost
2009-06-01 | 2009-06-15 | 77311 | 656 | 87700.5348 | 0.0397 | 3481.7112 | 2089.0267 | 955748.6631 | 22765.9332
2009-07-01 | 2009-07-17 | 78043 | 732 | 97860.9626 | 0.0397 | 3885.0802 | 2331.0481 | 2.863%
2009-08-01 | 2009-08-17 | 79062 | 1019 | 136229.9465 | 0.0397 | 5408.3289 | 3244.9973
2009-09-01 | 2009-09-15 | 79763 | 701 | 93716.5775 | 0.0397 | 3720.5481 | 2232.3289
2009-10-01 | 2009-10-16 | 80218 | 455 | 60828.877 | 0.0397 | 2414.9064 | 1448.9439
2009-11-01 | 2009-11-16 | 80598 | 380 | 50802.139 | 0.0397 | 2016.8449 | 1210.107
2009-12-01 | 2009-12-15 | 80869 | 271 | 36229.9465 | 0.0397 | 1438.3289 | 862.9973
2010-01-01 | 2010-01-15 | 81135 | 266 | 35561.4973 | 0.0397 | 1411.7914 | 847.0749
2010-02-01 | 2010-02-15 | 81488 | 353 | 47192.5134 | 0.0397 | 1873.5428 | 1124.1257
2010-03-01 | 2010-03-15 | 81810 | 322 | 43048.1283 | 0.0397 | 1709.0107 | 1025.4064
2010-04-01 | 2010-04-16 | 82096 | 286 | 38235.2941 | 0.0397 | 1517.9412 | 910.7647
2010-05-01 | 2010-05-14 | 82333 | 237 | 31684.492 | 0.0397 | 1257.8743 | 754.7246 | cubic feet | Cost
2010-06-01 | 2010-06-14 | 82946 | 613 | 81951.8717 | 0.0397 | 3253.4893 | 1952.0936 | 753342.246 | 17944.6123
-21.18%
Numbers in Red are Estimates
21841.0428
20855.7754
0.0366

## Rates
OU Auxiliary Utility Rates
FY 2010
Electric Rate
| Electricity Average Cost |  |  | 0.075 | per kW-hour
| Transportation cost to OU |  |  | 0 | per kW-hour
| Transportation cost to Auxiliary |  |  | 0.01 | per kW-hour
| TOTAL RATE |  |  | 0.085 | per kW-hour
For Reference: Detroit Edison - General Service Rate D3 = $0.0995 per kW-hour
Natural Gas Rate
| Averaged Annual Gas Cost |  |  | 8.6 | per MMBtu
| Transportation cost to OU |  |  | 0.66 | per MMBtu
| Transportation cost to Auxiliary |  |  | 1.1 | per MMBtu
| Total cost |  |  | 10.36 | per MMBtu
| Conversion to MCF |  | 1 |  | MMBtu per MCF
|  |  |  | 10.36 | per MCF
| TOTAL RATE |  |  | 1.036 | per CCF
CCF = 100 Cubic Feet, MCF = Million Cubic Feet, MMBTU = Million British Thermal Units
Consumers Energy bill in CCF, so this unit is used for the SA for comparison to the Consumers billings
Water & Sewer Rate
| Auburn Hills Water Cost |  |  | 0.0181 | per cubic feet
| Auburn Hills Sewer Cost |  |  | 0.0181 | per cubic feet
| Transportation cost to Auxiliary |  |  | 0.0035 | per cubic feet
| TOTAL RATE |  |  | 0.0397 | per cubic feet
High Temperature Hot Water MMBTU Cost Calculation
| Item | ADD | Cost per MMBTU | Notes
| Item | ADD | Cost per MMBTU | Raw fuel input to boilers = avg annual gas cost + transp to OU
| Natural Gas Cost |  | 9.26 | Add cost to convert natural gas to hot water, boiler losses
80% | Boiler Efficiency | 2.315 | 11.575 | Add cost to run power house: pumping power, labor, and maint.
10% | Central Plant O&M | 1.1575 | 12.7325 | Add cost for distribution system losses
80% | Distribution System Eff. | 3.1831 | 15.9156 | Add cost for metering, data collection, analysis, & billing
5% | Metering & Disrib. O&M | 0.79578 | 16.7114
| TOTAL Cost |  | 16.7114