## Main Sht
| By Priority | [15 empty] | 2005-10-10
[7 empty] | Total | [12 empty] | Emerg | Emergency
|  | Project | Total |  |  | Project | Annual | Cost | OU | [7 empty] | Annual |  | End of | replace | Replacement | Disruption
In |  | Cost | Savings |  |  | Cost | Savings | Avoidance | Internal | Terry | Simon | Jim | Grover | Combined |  | Payback | ROI | IRR | Service | factor | Cost | if | if
Project | Energy Conservation Measures | ($) | ($) |  |  | ($) | ($) | ($) | Priority | Priority | Priority | Priority | Priority | Total | Why | Yrs | Savings | with Cost | Life | (%) | ($) | Planned | Emergency
| PROJECT TOTALS |  |  |  |  | 27169865 | 674184.5 | 14583304 | [8 empty] | Only | Avoidance | Average |  | 32492487.31 | (weeks) | (weeks) | (area)
URGENT
X | M35A Rebuild Chillers (2 at SEB) | 80202 | 1063 |  | D | 80202 | 1063 | 80202 | 1 | 15 | 2 | 36 | 6 | 59 | Age |  | 1.325% | 6.348% | 2006 | 30% | 104262.6 | 0 | 4 | local
x | M21 Replace Ball Joints, HX, & Associated Controls | 87391 | 2500 |  | D | 87391 | 2500 | 87391 | 2 | 21 | 29 | 35 | 4 | 89 | Age |  | 2.861% | 9.277% | 2007 | 20% | 104869.2 | 0 | 1 | campus-wide
X | High Temp Hot Water Sys. Trench Tunnels | 5800000 | 0 |  | CR | 5800000 | 0 | 5800000 | 3 | 48 | 1 | 29 | 1 | 79 | Age, Reliability, Capacity |  | 0% | 3% | 2007 | 46.55% | 8500000 | 0 | 4 | four bldgs
X | M20 Replace Air Compressor | 19380 | 500 |  | D | 19380 | 500 | 19380 | 4 | 13 | 5 | 37 | 11 | 66 | Age |  | 2.58% | 8.787% | 2006 | 20% | 23256 | 0 | 1 | campus-wide
X | Comprehensive Energy Analysis | 275604 | 0 |  |  | 275604 | 0 | 0 | [8 empty] | 0% | N/A | N/A | 0% | 275604
|  |  |  | Sub-Total Urgent Projects |  | 6262577 | 4063 | 5986973 | [12 empty] | 9007991.8
CRITICAL
X | M32 Replace Air Handlers (7) | 1276824 | 17190 |  | D | 1276824 | 17190 | 1276824 | 5 | 17 | 8 | 38 | 5 | 68 | Age |  | 1.346% | 6.393% | 2006 | 20% | 1532188.8 | 2 | 12 | local
X | M14 Repair Expansion Tank | 9960 | 300 |  | D | 9960 | 300 | 9960 | 6 | 11 | 15 | 39 | 10 | 75 | Age |  | 3.012% | 9.535% | 2007 | 50% | 14940 | 0 | 1 | local
X | M24 AC Computer Servers & Software Upgrade | 24033 | 549 |  | D | 24033 | 549 | 24033 | 7 | 45 | 6 | 4 | 22 | 77 | Reliability |  | 2.284% | 8.252% | 2006 | 208% | 74033 | 0 | 3 | campus-wide
X | M35B Replace Chillers (2 at Kresge) | 703156 | 4611 |  | D | 703156 | 4611 | 703156 | 8 | 12 | 22 | 40 | 12 | 86 | Age |  | 0.6558% | 4.803% | 2007 | 20% | 843787.2 | 0 | 12 | local
X | M43 Ice Storage System Modifications | 137437 | 4121 |  | D | 137437 | 4121 | 137437 | 9 | 23 | 3 | 11 | 49 | 86 | Reliability, Energy |  | 2.998% | 9.512% | 2006 | 18% | 162175.66 | 0 | 4 | local
X | E2 Replace Secondary Electrical Switchgear | 168025 | 7482 |  | D | 168025 | 7482 | 168025 | 10 | 33 | 13 | 43 | 3 | 92 | Age |  | 4.453% | 11.81% | 2007 | 20% | 201630 | 1 | 8 | local
X | M31 Fire Stop Around Conduits | 23330 | 0 |  | D | 23330 | 0 | 23330 | 11 | 29 | 4 | 33 | 48 | 114 | Code |  | 0% | 3% | 2006 | 0% | 23330
X | M59 Replace Fluid Coolers (2) | 148819 | 189 |  | D | 148819 | 189 | 148819 | 12 | 10 | 35 | 28 | 28 | 101 | Age, Reliability |  | 0.127% | 3.38% | 2007 | 30% | 193464.7 | 0 | 2 | campus-wide
X | M28 Replace North Interior & Exterior Doors | 79143 | 1135 |  | D | 79143 | 1135 | 79143 | 13 | 47 | 10 | 26 | 19 | 102 | Age, Energy |  | 1.434% | 6.58% | 2007 | 15% | 91014.45
X | A1(NFH) Replace Windows | 122068 | 1444 |  | D | 122068 | 1444 | 122068 | 14 | 28 | 41 | 16 | 30 | 115 | Age, Comfort, Energy |  | 1.183% | 6.038% | 2007 | 20% | 146481.6
X | M37 Replace ALC with Honeywell Controls | 10319 | 1500 |  | PA | 10319 | 1500 | 10319 | 15 | 25 | 19 | 31 | 44 | 119 | Reliability |  | 14.54% | 23.82% | 2006 | 30% | 13414.7 | 0 | 3 | local
X | M25 Replace Fume Hood Fans and Stacks | 487758 | 23047 |  | PA | 487758 | 23047 | 487758 | 16 | 19 | 20 | 41 | 9 | 89 | Code, Age |  | 4.725% | 12.21% | 2011 | 0% | 487758
X | M23A Install 500 kW Backup Generator at CHP | 285791 | 0 |  | PA | 285791 | 0 | 285791 | 17 | 27 | 12 | 24 | 23 | 86 | Reliability |  | 0% | 3% | N/A | 419.9% | 1485791 | 0 | 4 | campus-wide
X | M23B Install Backup Generator at Dodge Hall ** | 500000 | 0 |  | PA | 500000 | 0 | 0 | 18 | 26 | 40 | 30 | 31 | 127 | Academic |  | 0% | N/A | 2007 | 20% | 600000 | 0 | 1 | campus-wide
X | M38 Replace Cooling Tower (5) | 1334862 | 33640 |  | CR | 1334862 | 33640 | 1334862 | 19 | 14 | 36 | 44 | 13 | 107 | Age |  | 2.52% | 8.68% | 2009 | 20% | 1601834.4 | 0 | 8 | local
X | M1 Ductwork Repairs | 5075 | 543 |  | D | 5075 | 543 | 5075 | 20 | 5 | 18 | 23 | 14 | 60 | Energy, repair | 9.3462 | 10.7% | 19.7% | 2006 | 100% | 10150 | 1 | 1 | local
X | M3 Repair Dampers & Add Occ. Sensor Control | 436295 | 8619 |  | D | 436295 | 8619 | 100000 | 21 | 39 | 42 | 3 | 41 | 125 | Repair, Comfort |  | 1.975% | -4.519% | 2006 | 20% | 523554 | 0 | 2 | local
|  |  |  | Sub-Total Critical Projects |  | 5752895 | 104370 | 4916600 | [12 empty] | 8005547.51
| ** |  |  | Not required if T1 is selected
Indicates items to be bid by Oakland University
| D = |  |  | Deferred Maintenance (repairs/replacements past due)
| CR = |  |  | Capital Renewal (due for repair/replacement)
| PA = |  |  | Plant Adaptation (new requirements)
NEEDED
X | M22 Replace Boiler Controls | 193481 | 4521 |  | CR | 193481 | 4521 | 193481 | 22 | 18 | 23 | 17 | 7 | 65 | Age |  | 2.337% | 8.348% | 2009 | 20% | 232177.2 | 0 | 1 | campus-wide
X | M27 Convert AHU-1 to Chilled Water | 76010 | 1115 |  | CR | 76010 | 1115 | 76010 | 23 | 20 | 39 | 27 | 26 | 112 | Age, Energy |  | 1.467% | 6.648% | 2011 | 65.78% | 126010 | 0 | 4 | local
X | M34 Replace Dampers on AHUs - Add Air Blenders | 55719 | 1464 |  | D | 55719 | 1464 | 55719 | 24 | 8 | 31 | 15 | 33 | 87 | Comfort, Energy |  | 2.627% | 8.871% | 2006 | 20% | 66862.8 | 0 | 2 | local
X | M9 Insulated Exterior Panels | 10334 | 5244 |  | D | 10334 | 5244 | 0 | 25 | 2 | 25 | 9 | 35 | 71 | Energy | 1.9706 | 50.75% | 50.73% | N/A | 0% | 10334
X | M8 Revise Pressure Control Piping | 6231 | 2000 |  | D | 6231 | 2000 | 6231 | 26 | 3 | 21 | 8 | 51 | 83 | Energy | 3.1155 | 32.1% | 40.63% | N/A | 100% | 12462 | 0 | 1 | campus-wide
X | M15 Gas Line Upgrade | 15643 | 2000 |  | D | 15643 | 2000 | 15643 | 27 | 16 | 26 | 42 | 2 | 86 | Age |  | 12.79% | 21.98% | 2009 | 40% | 21900.2
X | A1(OC) Replace Windows | 144786 | 2069 |  | CR | 144786 | 2069 | 0 | 28 | [5 empty] | Age, Comfort, Energy |  | 1.429% | -9.79% | 2009 | 0% | 144786
X | M7 Re-pipe RAC HTHW Piping | 20833 | 2500 |  | D | 20833 | 2500 | 20833 | 29 | 4 | 9 | 13 | 15 | 41 | Energy | 8.3332 | 12% | 21.13% | 2015 | 0% | 20833
X | W1 Domestic Water Conservation Retrofit | 465375 | 49212 |  | CR | 465375 | 49212 | 0 | 30 | 6 | 30 | 14 | 17 | 67 | Energy | 9.4565 | 10.57% | 8.51% | 2020 | 0% | 465375
X | M26 Replace Room 408 RTU | 18031 | 500 |  | CR | 18031 | 500 | 18031 | 31 | 35 | 34 | 45 | 8 | 122 | Age |  | 2.773% | 9.126% | 2009 | 20% | 21637.2 | 1 | 4 | local
X | M41 VFD Chilled and Hot Water Pumps | 69846 | 6097 |  | PA | 69846 | 6097 | 0 | 32 | 7 | 49 | 19 | 34 | 109 | Energy | 11.4558 | 8.729% | 6.015% | N/A | 0% | 69846
X | T2 Connect SEB & Dodge Chilled Water | 25509 | 15098 |  | PA | 25509 | 15098 | 0 | 33 | 24 | 48 | 2 | 45 | 119 | Reliability |  | 59.19% | 59.18% | N/A | 0% | 25509
X | S1 Integrated Operating System | 541391 | 7500 |  | PA | 541391 | 7500 | 541391 | 34 | 37 | 37 | 10 | 47 | 131 | Age, Reliability |  | 1.385% | 6.476% | 2007 | 20% | 649669.2
X | L3 Egress Lighting | 77134 | 500 |  | PA | 77134 | 500 | 77134 | 35 | 30 | 14 | 34 | 43 | 121 | Code |  | 0.6482% | 4.784% | 2011 | 0% | 77134
X | M17 New Dedicated Chiller | 293398 | 1214 |  | PA | 293398 | 1214 | 0 | 36 | 36 | 43 | 18 | 18 | 115 | Academic |  | 0.4138% | -17.07% | N/A | 0% | 293398
X | E1 Primary Electrical Service to East Campus | 1617630 | 39023 |  | PA | 1617630 | 39023 | 0 | 37 | 49 | 28 | 5 | 42 | 124 | Reliability, Capacity |  | 2.412% | -6.122% | N/A | 0% | 1617630
X | T3 Connect Varner & Elliot CHW Systems | 187123 | 10144 |  | PA | 187123 | 10144 | 0 | 38 | 34 | 46 | 25 | 20 | 125 | Reliability |  | 5.421% | 0.7827% | N/A | 0% | 187123
X | L1 Lighting Retrofits and Occupancy Sensor | 577402 | 42719.5 |  | PA | 577402 | 42719.5 | 0 | 39 | 22 | 17 | 12 | 36 | 87 | Energy, age | 13.5161 | 7.399% | 4.062% | 2020 | 0% | 577402
X | L5 Corridor Lighting Retrofits | 130023 | 8214 |  | PA | 130023 | 8214 | 0 | 40 | 9 | 33 | 22 | 32 | 96 | Energy, age | 15.8294 | 6.317% | 2.339% | 2020 | 0% | 130023
X | S2 Commission Hydronic Systems | 424248 | 26327 |  | PA | 424248 | 26327 | 424248 | 41 | 38 | 24 | 50 | 25 | 137 | Comfort |  | 6.206% | -100% | N/A | 20% | 509097.6 |  |  | ongoing local
X | M29 Add Glycol to CHW System w/ Autofill | 295796 | 500 |  | PA | 295796 | 500 | 0 | 42 | 44 | 44 | 32 | 21 | 141 | Reliability |  | 0.169% | -21.56% | 2009 | 0% | 295796
X | M39 Replace Steam Boiler | 77464 | 1332 |  | CR | 77464 | 1332 | 77464 | 43 | 46 | 38 | 46 | 40 | 170 | Age |  | 1.72% | 7.166% | 2011 | 20% | 92956.8 | 0 | 1 | local
X | S3 Utility Vision | 40139 | 2500 |  | PA | 40139 | 2500 | 40139 | 44 | 31 | 32 | 20 | 50 | 133 | Energy | 16.0556 | 6.228% | 14.29% | N/A | 0% | 40139
X | M40 Add Zones for Heating Control | 17961 | 500 |  | PA | 17961 | 500 | 0 | 45 | 41 | 16 | 49 | 37 | 143 | Comfort |  | 2.784% | -5.029% | N/A | 0% | 17961
X | M33 Increase Airflow (Kresge and O'Dowd) | 136921 | 3000 |  | PA | 136921 | 3000 | 0 | 46 | 43 | 45 | 48 | 39 | 175 | Comfort |  | 2.191% | -6.833% | N/A | 0% | 136921
X | M5 Pipe Insulation | 6957 | 342 |  | PA | 6957 | 342 | 6957 | 47 | 32 | 11 | 18 | 16 | 77 | Energy | 20.3421 | 4.916% | 12.49% | 2006 | 0% | 6957
X | M18 Chilled Water Piping Modifications | 39831 | 500 |  | PA | 39831 | 500 | 0 | 48 | 52 | 51 | 21 | 52 | 176 | Comfort |  | 1.255% | -10.63% | N/A | 0% | 39831
X | M36 Modify HVAC Sys to Reduce Noise (SFH) | 87500 | 0 |  | PA | 87500 | 0 | 0 | 49 | 51 | 47 | 51 | 27 | 176 | Comfort |  | 0% | N/A | N/A | 0% | 87500
|  |  |  | Sub-Total Needed Projects |  | 5652716 | 236135.5 | 1553281 | [12 empty] | 5977271
OTHER
X | T1 Cogeneration | 9501677 | 329616 |  | PA | 9501677 | 329616 | 2126450 | 50 | 50 | 27 | 1 | 46 | 124 | Reliability, Energy, Capacity |  | 3.469% | 0% | 2012 | 0% | 9501677
|  |  |  | Sub-Total Other Project |  | 9501677 | 329616 | 2126450 | [12 empty] | 9501677
| PROJECT TOTALS | 17668188 | 344568.5 |  |  | 27169865 | 674184.5 | 14583304 | [8 empty] | 2.481% | 1.551% |  |  | 32492487.31
| PROJECT TOTALS w/o Cogeneration | 11681215 | 340505.5 |  |  | 17668188 | 344568.5 | 12456854
Note on G61: dsti: Add $100k for repairs

## Emergy Costs
| By Priority | [15 empty] | 2005-09-22 |  |  |  | 2005-10-10
[7 empty] | Total | [12 empty] | Emerg | Emergency
|  | Project | Total |  |  | Project | Annual | Cost | OU | [7 empty] | Annual |  | End of | replace | Replacement | Disruption
In |  | Cost | Savings |  |  | Cost | Savings | Avoidance | Internal | Terry | Simon | Jim | Grover | Combined |  | Payback | ROI | IRR | Service | factor | Cost | if | if
Project | Energy Conservation Measures | ($) | ($) |  |  | ($) | ($) | ($) | Priority | Priority | Priority | Priority | Priority | Total | Why | Yrs | Savings | with Cost | Life | (%) | ($) | Planned | Emergency
| PROJECT TOTALS |  |  |  |  | 27169865 | 674184.5 | 14583304 | [8 empty] | Only | Avoidance | Average |  | 32492487.31 | (weeks) | (weeks) | (area)
URGENT
X | M35A Rebuild Chillers (2 at SEB) | 80202 | 1063 |  | D | 80202 | 1063 | 80202 | 1 | 15 | 2 | 36 | 6 | 59 | Age |  | 1.325% | 6.348% | 2006 | 30% | 104262.6 | 0 | 4 | local
x | M21 Replace Ball Joints, HX, & Associated Controls | 87391 | 2500 |  | D | 87391 | 2500 | 87391 | 2 | 21 | 29 | 35 | 4 | 89 | Age |  | 2.861% | 9.277% | 2007 | 20% | 104869.2 | 0 | 1 | campus-wide
X | High Temp Hot Water Sys. Trench Tunnels | 5800000 | 0 |  | CR | 5800000 | 0 | 5800000 | 3 | 48 | 1 | 29 | 1 | 79 | Age, Reliability, Capacity |  | 0% | 3% | 2007 | 46.55% | 8500000 | 0 | 4 | four bldgs
X | M20 Replace Air Compressor | 19380 | 500 |  | D | 19380 | 500 | 19380 | 4 | 13 | 5 | 37 | 11 | 66 | Age |  | 2.58% | 8.787% | 2006 | 20% | 23256 | 0 | 1 | campus-wide
X | Comprehensive Energy Analysis | 275604 | 0 |  |  | 275604 | 0 | 0 | [8 empty] | 0% | N/A | N/A | 0% | 275604
|  |  |  | Sub-Total Urgent Projects |  | 6262577 | 4063 | 5986973 | [12 empty] | 9007991.8
CRITICAL
X | M32 Replace Air Handlers (7) | 1276824 | 17190 |  | D | 1276824 | 17190 | 1276824 | 5 | 17 | 8 | 38 | 5 | 68 | Age |  | 1.346% | 6.393% | 2006 | 20% | 1532188.8 | 2 | 12 | local
X | M14 Repair Expansion Tank | 9960 | 300 |  | D | 9960 | 300 | 9960 | 6 | 11 | 15 | 39 | 10 | 75 | Age |  | 3.012% | 9.535% | 2007 | 50% | 14940 | 0 | 1 | local
X | M24 AC Computer Servers & Software Upgrade | 24033 | 549 |  | D | 24033 | 549 | 24033 | 7 | 45 | 6 | 4 | 22 | 77 | Reliability |  | 2.284% | 8.252% | 2006 | 208% | 74033 | 0 | 3 | campus-wide
X | M35B Replace Chillers (2 at Kresge) | 703156 | 4611 |  | D | 703156 | 4611 | 703156 | 8 | 12 | 22 | 40 | 12 | 86 | Age |  | 0.6558% | 4.803% | 2007 | 20% | 843787.2 | 0 | 12 | local
X | M43 Ice Storage System Modifications | 137437 | 4121 |  | D | 137437 | 4121 | 137437 | 9 | 23 | 3 | 11 | 49 | 86 | Reliability, Energy |  | 2.998% | 9.512% | 2006 | 18% | 162175.66 | 0 | 4 | local
X | E2 Replace Secondary Electrical Switchgear | 168025 | 7482 |  | D | 168025 | 7482 | 168025 | 10 | 33 | 13 | 43 | 3 | 92 | Age |  | 4.453% | 11.81% | 2007 | 20% | 201630 | 1 | 8 | local
X | M31 Fire Stop Around Conduits | 23330 | 0 |  | D | 23330 | 0 | 23330 | 11 | 29 | 4 | 33 | 48 | 114 | Code |  | 0% | 3% | 2006 | 0% | 23330
X | M59 Replace Fluid Coolers (2) | 148819 | 189 |  | D | 148819 | 189 | 148819 | 12 | 10 | 35 | 28 | 28 | 101 | Age, Reliability |  | 0.127% | 3.38% | 2007 | 30% | 193464.7 | 0 | 2 | campus-wide
X | M28 Replace North Interior & Exterior Doors | 79143 | 1135 |  | D | 79143 | 1135 | 79143 | 13 | 47 | 10 | 26 | 19 | 102 | Age, Energy |  | 1.434% | 6.58% | 2007 | 15% | 91014.45
X | A1(NFH) Replace Windows | 122068 | 1444 |  | D | 122068 | 1444 | 122068 | 14 | 28 | 41 | 16 | 30 | 115 | Age, Comfort, Energy |  | 1.183% | 6.038% | 2007 | 20% | 146481.6
X | M37 Replace ALC with Honeywell Controls | 10319 | 1500 |  | PA | 10319 | 1500 | 10319 | 15 | 25 | 19 | 31 | 44 | 119 | Reliability |  | 14.54% | 23.82% | 2006 | 30% | 13414.7 | 0 | 3 | local
X | M25 Replace Fume Hood Fans and Stacks | 487758 | 23047 |  | PA | 487758 | 23047 | 487758 | 16 | 19 | 20 | 41 | 9 | 89 | Code, Age |  | 4.725% | 12.21% | 2011 | 0% | 487758
X | M23A Install 500 kW Backup Generator at CHP | 285791 | 0 |  | PA | 285791 | 0 | 285791 | 17 | 27 | 12 | 24 | 23 | 86 | Reliability |  | 0% | 3% | N/A | 419.9% | 1485791 | 0 | 4 | campus-wide
X | M23B Install Backup Generator at Dodge Hall ** | 500000 | 0 |  | PA | 500000 | 0 | 0 | 18 | 26 | 40 | 30 | 31 | 127 | Academic |  | 0% | N/A | 2007 | 20% | 600000 | 0 | 1 | campus-wide
X | M38 Replace Cooling Tower (5) | 1334862 | 33640 |  | CR | 1334862 | 33640 | 1334862 | 19 | 14 | 36 | 44 | 13 | 107 | Age |  | 2.52% | 8.68% | 2009 | 20% | 1601834.4 | 0 | 8 | local
X | M1 Ductwork Repairs | 5075 | 543 |  | D | 5075 | 543 | 5075 | 20 | 5 | 18 | 23 | 14 | 60 | Energy, repair | 9.3462 | 10.7% | 19.7% | 2006 | 100% | 10150 | 1 | 1 | local
X | M3 Repair Dampers & Add Occ. Sensor Control | 436295 | 8619 |  | D | 436295 | 8619 | 100000 | 21 | 39 | 42 | 3 | 41 | 125 | Repair, Comfort |  | 1.975% | -4.519% | 2006 | 20% | 523554 | 0 | 2 | local
|  |  |  | Sub-Total Critical Projects |  | 5752895 | 104370 | 4916600 | [12 empty] | 8005547.51
| ** |  |  | Not required if T1 is selected
Indicates items to be bid by Oakland University
| D = |  |  | Deferred Maintenance (repairs/replacements past due)
| CR = |  |  | Capital Renewal (due for repair/replacement)
| PA = |  |  | Plant Adaptation (new requirements)
NEEDED
X | M22 Replace Boiler Controls | 193481 | 4521 |  | CR | 193481 | 4521 | 193481 | 22 | 18 | 23 | 17 | 7 | 65 | Age |  | 2.337% | 8.348% | 2009 | 20% | 232177.2 | 0 | 1 | campus-wide
X | M27 Convert AHU-1 to Chilled Water | 76010 | 1115 |  | CR | 76010 | 1115 | 76010 | 23 | 20 | 39 | 27 | 26 | 112 | Age, Energy |  | 1.467% | 6.648% | 2011 | 65.78% | 126010 | 0 | 4 | local
X | M34 Replace Dampers on AHUs - Add Air Blenders | 55719 | 1464 |  | D | 55719 | 1464 | 55719 | 24 | 8 | 31 | 15 | 33 | 87 | Comfort, Energy |  | 2.627% | 8.871% | 2006 | 20% | 66862.8 | 0 | 2 | local
X | M9 Insulated Exterior Panels | 10334 | 5244 |  | D | 10334 | 5244 | 0 | 25 | 2 | 25 | 9 | 35 | 71 | Energy | 1.9706 | 50.75% | 50.73% | N/A | 0% | 10334
X | M8 Revise Pressure Control Piping | 6231 | 2000 |  | D | 6231 | 2000 | 6231 | 26 | 3 | 21 | 8 | 51 | 83 | Energy | 3.1155 | 32.1% | 40.63% | N/A | 100% | 12462 | 0 | 1 | campus-wide
X | M15 Gas Line Upgrade | 15643 | 2000 |  | D | 15643 | 2000 | 15643 | 27 | 16 | 26 | 42 | 2 | 86 | Age |  | 12.79% | 21.98% | 2009 | 40% | 21900.2
X | A1(OC) Replace Windows | 144786 | 2069 |  | CR | 144786 | 2069 | 0 | 28 | [5 empty] | Age, Comfort, Energy |  | 1.429% | -9.79% | 2009 | 0% | 144786
X | M7 Re-pipe RAC HTHW Piping | 20833 | 2500 |  | D | 20833 | 2500 | 20833 | 29 | 4 | 9 | 13 | 15 | 41 | Energy | 8.3332 | 12% | 21.13% | 2015 | 0% | 20833
X | W1 Domestic Water Conservation Retrofit | 465375 | 49212 |  | CR | 465375 | 49212 | 0 | 30 | 6 | 30 | 14 | 17 | 67 | Energy | 9.4565 | 10.57% | 8.51% | 2020 | 0% | 465375
X | M26 Replace Room 408 RTU | 18031 | 500 |  | CR | 18031 | 500 | 18031 | 31 | 35 | 34 | 45 | 8 | 122 | Age |  | 2.773% | 9.126% | 2009 | 20% | 21637.2 | 1 | 4 | local
X | M41 VFD Chilled and Hot Water Pumps | 69846 | 6097 |  | PA | 69846 | 6097 | 0 | 32 | 7 | 49 | 19 | 34 | 109 | Energy | 11.4558 | 8.729% | 6.015% | N/A | 0% | 69846
X | T2 Connect SEB & Dodge Chilled Water | 25509 | 15098 |  | PA | 25509 | 15098 | 0 | 33 | 24 | 48 | 2 | 45 | 119 | Reliability |  | 59.19% | 59.18% | N/A | 0% | 25509
X | S1 Integrated Operating System | 541391 | 7500 |  | PA | 541391 | 7500 | 541391 | 34 | 37 | 37 | 10 | 47 | 131 | Age, Reliability |  | 1.385% | 6.476% | 2007 | 20% | 649669.2
X | L3 Egress Lighting | 77134 | 500 |  | PA | 77134 | 500 | 77134 | 35 | 30 | 14 | 34 | 43 | 121 | Code |  | 0.6482% | 4.784% | 2011 | 0% | 77134
X | M17 New Dedicated Chiller | 293398 | 1214 |  | PA | 293398 | 1214 | 0 | 36 | 36 | 43 | 18 | 18 | 115 | Academic |  | 0.4138% | -17.07% | N/A | 0% | 293398
X | E1 Primary Electrical Service to East Campus | 1617630 | 39023 |  | PA | 1617630 | 39023 | 0 | 37 | 49 | 28 | 5 | 42 | 124 | Reliability, Capacity |  | 2.412% | -6.122% | N/A | 0% | 1617630
X | T3 Connect Varner & Elliot CHW Systems | 187123 | 10144 |  | PA | 187123 | 10144 | 0 | 38 | 34 | 46 | 25 | 20 | 125 | Reliability |  | 5.421% | 0.7827% | N/A | 0% | 187123
X | L1 Lighting Retrofits and Occupancy Sensor | 577402 | 42719.5 |  | PA | 577402 | 42719.5 | 0 | 39 | 22 | 17 | 12 | 36 | 87 | Energy, age | 13.5161 | 7.399% | 4.062% | 2020 | 0% | 577402
X | L5 Corridor Lighting Retrofits | 130023 | 8214 |  | PA | 130023 | 8214 | 0 | 40 | 9 | 33 | 22 | 32 | 96 | Energy, age | 15.8294 | 6.317% | 2.339% | 2020 | 0% | 130023
X | S2 Commission Hydronic Systems | 424248 | 26327 |  | PA | 424248 | 26327 | 424248 | 41 | 38 | 24 | 50 | 25 | 137 | Comfort |  | 6.206% | -100% | N/A | 20% | 509097.6 |  |  | ongoing local
X | M29 Add Glycol to CHW System w/ Autofill | 295796 | 500 |  | PA | 295796 | 500 | 0 | 42 | 44 | 44 | 32 | 21 | 141 | Reliability |  | 0.169% | -21.56% | 2009 | 0% | 295796
X | M39 Replace Steam Boiler | 77464 | 1332 |  | CR | 77464 | 1332 | 77464 | 43 | 46 | 38 | 46 | 40 | 170 | Age |  | 1.72% | 7.166% | 2011 | 20% | 92956.8 | 0 | 1 | local
X | S3 Utility Vision | 40139 | 2500 |  | PA | 40139 | 2500 | 40139 | 44 | 31 | 32 | 20 | 50 | 133 | Energy | 16.0556 | 6.228% | 14.29% | N/A | 0% | 40139
X | M40 Add Zones for Heating Control | 17961 | 500 |  | PA | 17961 | 500 | 0 | 45 | 41 | 16 | 49 | 37 | 143 | Comfort |  | 2.784% | -5.029% | N/A | 0% | 17961
X | M33 Increase Airflow (Kresge and O'Dowd) | 136921 | 3000 |  | PA | 136921 | 3000 | 0 | 46 | 43 | 45 | 48 | 39 | 175 | Comfort |  | 2.191% | -6.833% | N/A | 0% | 136921
X | M5 Pipe Insulation | 6957 | 342 |  | PA | 6957 | 342 | 6957 | 47 | 32 | 11 | 18 | 16 | 77 | Energy | 20.3421 | 4.916% | 12.49% | 2006 | 0% | 6957
X | M18 Chilled Water Piping Modifications | 39831 | 500 |  | PA | 39831 | 500 | 0 | 48 | 52 | 51 | 21 | 52 | 176 | Comfort |  | 1.255% | -10.63% | N/A | 0% | 39831
X | M36 Modify HVAC Sys to Reduce Noise (SFH) | 87500 | 0 |  | PA | 87500 | 0 | 0 | 49 | 51 | 47 | 51 | 27 | 176 | Comfort |  | 0% | N/A | N/A | 0% | 87500
|  |  |  | Sub-Total Needed Projects |  | 5652716 | 236135.5 | 1553281 | [12 empty] | 5977271
OTHER
X | T1 Cogeneration | 9501677 | 329616 |  | PA | 9501677 | 329616 | 2126450 | 50 | 50 | 27 | 1 | 46 | 124 | Reliability, Energy, Capacity |  | 3.469% | 0% | 2012 | 0% | 9501677
|  |  |  | Sub-Total Other Project |  | 9501677 | 329616 | 2126450 | [12 empty] | 9501677
| PROJECT TOTALS | 17668188 | 344568.5 |  |  | 27169865 | 674184.5 | 14583304 | [8 empty] | 2.481% | 1.551% |  |  | 32492487.31
| PROJECT TOTALS w/o Cogeneration | 11681215 | 340505.5 |  |  | 17668188 | 344568.5 | 12456854 | [8 empty] | 1.95% | 0% |  |  | 22990810.31
Note on G62: dsti: Add $100k for repairs

## Category
By Category
[5 empty] | Total | Capital
|  | Project | Total | Project | Annual | Cost
In |  | Cost | Savings | Cost | Savings | Avoidance |  |  | Payback
Project | Energy Conservation Measures | ($) | ($) | ($) | ($) | ($) | Priority | Why | Yrs
| PROJECT TOTALS |  |  | 27169865 | 674184.5 | 17161236
X | M17 New Dedicated Chiller | 293398 | 1214 | 293398 | 1214 | 0 | 32 | Academic
X | M23B Install Backup Generator at Dodge Hall | 500000 | 0 | 500000 | 0 | 0 | 42 | Academic
| Sub-Total |  |  | 793398 | 1214 | 0
X | M35A Rebuild Chillers (2 at SEB) | 80202 | 1063 | 80202 | 1063 | 80202 | 2 | Age
X | M22 Replace Boiler Controls | 193481 | 4521 | 193481 | 4521 | 193481 | 4 | Age
X | M20 Replace Air Compressor | 19380 | 500 | 19380 | 500 | 19380 | 5 | Age
X | M32 Replace Air Handlers (7) | 1276824 | 17190 | 1276824 | 17190 | 1276824 | 7 | Age
X | M14 Repair Expansion Tank | 9960 | 300 | 9960 | 300 | 9960 | 9 | Age
X | HTHW Trench Tunnels | 5800000 |  | 5800000 |  | 8500000 | 12 | Age, Reliability, Capacity
X | M15 Gas Line Upgrade | 15643 | 2000 | 15643 | 2000 | 15643 | 16 | Age
X | M35B Replace Chillers (2 at Kresge) | 703156 | 4611 | 703156 | 4611 | 703156 | 17 | Age
X | M21 Replace Ball Joints, HX, & Ass'd Controls | 87391 | 2500 | 87391 | 2500 | 87391 | 22 | Age
X | E2 Replace Secondary Electrical Switchgear | 168025 | 7482 | 168025 | 7482 | 168025 | 24 | Age
X | M59 Replace Fluid Coolers (2) | 148819 | 189 | 148819 | 189 | 148819 | 26 | Age, Reliability
X | M28 Replace North Interior & Exterior Doors | 79143 | 1135 | 79143 | 1135 | 79143 | 27 | Age, Energy
X | M38 Replace Cooling Tower (5) | 1334862 | 33640 | 1334862 | 33640 | 1334862 | 28 | Age
X | M27 Convert AHU-1 to Chilled Water | 76010 | 1115 | 76010 | 1115 | 76010 | 30 | Age, Energy
X | A1(NFH) Replace Windows | 122068 | 1444 | 122068 | 1444 | 0 | 33 | Age, Comfort, Energy
X | A1(OC) Replace Windows | 144786 | 2069 | 144786 | 2069 | 0 | 33 | Age, Comfort, Energy
X | M26 Replace Room 408 RTU | 18031 | 500 | 18031 | 500 | 18031 | 37 | Age
X | S1 Integrated Operating System | 541391 | 7500 | 541391 | 7500 | 541391 | 43 | Age, Reliability
X | M39 Replace Steam Boiler | 77464 | 1332 | 77464 | 1332 | 77464 | 48 | Age
| Sub-Total |  |  | 10896636 | 89091 | 13329782
X | M25 Replace Fume Hood Fans and Stacks | 487758 | 23047 | 487758 | 23047 | 487758 | 23 | Code, Age
X | M31 Fire Stop Around Conduits | 23330 | 0 | 23330 | 0 | 23330 | 31 | Code
X | L3 Egress Lighting | 77134 | 500 | 77134 | 500 | 77134 | 36 | Code
| Sub-Total |  |  | 588222 | 23547 | 588222
X | M34 Dampers on AHUs - Add Air Blenders | 55719 | 1464 | 55719 | 1464 | 55719 | 20 | Comfort, Energy
X | S2 Commission Hydronic Systems | 424248 | 26327 | 424248 | 26327 | 424248 | 45 | Comfort
X | M40 Add Zones for Heating Control | 17961 | 500 | 17961 | 500 | 0 | 47 | Comfort
X | M33 Increase Airflow (Kresge and O'Dowd) | 136921 | 3000 | 136921 | 3000 | 0 | 49 | Comfort
X | M36 Modify HVAC System to Reduce Noise (SFH) | 87500 |  | 87500 | 0 | 0 | 50 | Comfort
X | M18 Chilled Water Piping Modifications | 39831 | 500 | 39831 | 500 | 0 | 51 | Comfort
| Sub-Total |  |  | 762180 | 31791 | 479967
X | M7 Re-pipe RAC HTHW Piping | 20833 | 2500 | 20833 | 2500 | 20833 | 1 | Energy | 8.3332
X | M1 Ductwork Repairs | 5075 | 543 | 5075 | 543 | 5075 | 3 | Energy, repair | 9.3462
X | W1 Domestic Water Conservation Retrofit | 465375 | 49212 | 465375 | 49212 | 0 | 6 | Energy | 9.4565
X | M9 Insulated Exterior Panels | 10334 | 5244 | 10334 | 5244 | 0 | 8 | Energy | 1.9706
X | M5 Pipe Insulation | 6957 | 342 | 6957 | 342 | 6957 | 10 | Energy | 20.3421
X | M8 Revise Pressure Control Piping | 6231 | 2000 | 6231 | 2000 | 6231 | 15 | Energy | 3.1155
X | L1 Lighting Retrofits and Occupancy Sensor | 577402 | 42719.5 | 577402 | 42719.5 | 0 | 21 | Energy, age | 13.5161
X | L5 Corridor Lighting Retrofits | 130023 | 8214 | 130023 | 8214 | 0 | 25 | Energy, age | 15.8294
X | M41 VFD Chilled and Hot Water Pumps | 69846 | 6097 | 69846 | 6097 | 0 | 29 | Energy | 11.4558
X | S3 Utility Vision | 40139 | 2500 | 40139 | 2500 | 40139 | 44 | Energy | 16.0556
| Sub-Total |  |  | 1332215 | 119371.5 | 79235
X | M24 AC Computer Servers & Software Upgrade | 24033 | 549 | 24033 | 549 | 24033 | 11 | Reliability
| S4 Control Specialist (3 years) | 405000 | 16050.3533 | 0 | 0 | 0 | 14 | Reliability, Energy
X | M23A Install 500 kW Backup Generator at CHP | 285791 | 0 | 285791 | 0 | 285791 | 18 | Reliability
X | M43 Ice Storage System Modifications | 137437 | 4121 | 137437 | 4121 | 137437 | 19 | Reliability, Energy
X | M37 Replace ALC with Honeywell Controls | 10319 | 1500 | 10319 | 1500 | 10319 | 34 | Reliability
X | T2 Connect SEB & Dodge Chilled Water | 25509 | 15098 | 25509 | 15098 | 0 | 35 | Reliability
X | E1 Primary Electrical Service to East Campus | 1617630 | 39023 | 1617630 | 39023 | 0 | 38 | Reliability, Capacity
X | T1 Cogeneration * | 9501677 | 329616 | 9501677 | 329616 | 2126450 | 39 | Reliability, Energy, Capacity
X | T3 Connect Varner & Elliot CHW Systems | 187123 | 10144 | 187123 | 10144 | 0 | 40 | Reliability
X | M3 OA Dampers & Add Occ. Sensor Control* | 436295 | 8619 | 436295 | 8619 | 100000 | 41 | Repair, Comfort
X | M29 Add Glycol to CHW System w/ Autofill | 295796 | 500 | 295796 | 500 | 0 | 46 | Reliability
| Sub-Total |  |  | 12521610 | 409170 | 2684030
X | CEA | 275604 | 0 | 275604 | 0 | 0
| PROJECT TOTALS | 27574865 | 690234.8533 | 27169865 | 674184.5 | 17161236
OU | Total for items in Yellow |  |  | 16398539 | 365251 | 11299517
Chevron | All Others |  |  | 10771326 | 308933.5 | 5861719
Note on E39: dsti: Add $100k for repairs

## Summary
Oakland University Summary
| Academic | 793398
| Age | 10896636
| Code | 588222
| Comfort | 762180
| Energy | 1332215
| Reliability | 12521610
| CEA | 275604
| Total | 27169865
T1 | Cogeneration | 9501677 | By Others | Reliability
- | HTHW Tunnel | 5800000 | By Others | Age
| Sub-Total | 15301677 | Bid & contracted out by OU
| Sub-Total | 11868188 | Contract Amount to Cheveron
| Total | 27169865

## Sheet3
IRR Term in years | 20
Inflation Rate | 3% | 1.1593
Yr Assumed replaced | 5
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 |  | IRR
-80202 | 1063 | 1063 | 1063 | 1063 | 94039.0993 | 1063 | 1063 | 1063 | 1063 | 1063 | 1063 | 1063 | 1063 | 1063 | 1063 | 1063 | 1063 | 1063 | 1063 | 1063 | 34034.0993 | 6.348%
-5800000 | 0 | 0 | 0 | 0 | 6723789.6309 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 923789.6309 | 3%
-19380 | 500 | 500 | 500 | 500 | 22966.7316 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 13086.7316 | 8.787%
-1276824 | 17190 | 17190 | 17190 | 17190 | 1497378.9606 | 17190 | 17190 | 17190 | 17190 | 17190 | 17190 | 17190 | 17190 | 17190 | 17190 | 17190 | 17190 | 17190 | 17190 | 17190 | 547164.9606 | 6.393%
-9960 | 300 | 300 | 300 | 300 | 11846.3698 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 7586.3698 | 9.535%
-24033 | 549 | 549 | 549 | 549 | 28409.8338 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 14807.8338 | 8.252%
-703156 | 4611 | 4611 | 4611 | 4611 | 819761.521 | 4611 | 4611 | 4611 | 4611 | 4611 | 4611 | 4611 | 4611 | 4611 | 4611 | 4611 | 4611 | 4611 | 4611 | 4611 | 204214.521 | 4.803%
-137437 | 4121 | 4121 | 4121 | 4121 | 163448.1509 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 4121 | 104310.1509 | 9.512%
-87391 | 2500 | 2500 | 2500 | 2500 | 103810.1206 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 63919.1206 | 9.277%
-168025 | 7482 | 7482 | 7482 | 7482 | 202269.0263 | 7482 | 7482 | 7482 | 7482 | 7482 | 7482 | 7482 | 7482 | 7482 | 7482 | 7482 | 7482 | 7482 | 7482 | 7482 | 176402.0263 | 11.81%
-23330 | 0 | 0 | 0 | 0 | 27045.8642 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3715.8642 | 3%
-148819 | 189 | 189 | 189 | 189 | 172711.0085 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 27483.0085 | 3.38%
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 100%
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #VALUE!
-79143 | 1135 | 1135 | 1135 | 1135 | 92883.4281 | 1135 | 1135 | 1135 | 1135 | 1135 | 1135 | 1135 | 1135 | 1135 | 1135 | 1135 | 1135 | 1135 | 1135 | 1135 | 35305.4281 | 6.58%
-122068 | 1444 | 1444 | 1444 | 1444 | 142954.2677 | 1444 | 1444 | 1444 | 1444 | 1444 | 1444 | 1444 | 1444 | 1444 | 1444 | 1444 | 1444 | 1444 | 1444 | 1444 | 48322.2677 | 6.038%
-10319 | 1500 | 1500 | 1500 | 1500 | 13462.5492 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 31643.5492 | 23.82%
-487758 | 23047 | 23047 | 23047 | 23047 | 588492.2039 | 23047 | 23047 | 23047 | 23047 | 23047 | 23047 | 23047 | 23047 | 23047 | 23047 | 23047 | 23047 | 23047 | 23047 | 23047 | 538627.2039 | 12.21%
-436295 | 8619 | 8619 | 8619 | 8619 | 124546.4074 | 8619 | 8619 | 8619 | 8619 | 8619 | 8619 | 8619 | 8619 | 8619 | 8619 | 8619 | 8619 | 8619 | 8619 | 8619 | -147987.5926 | -4.519%
-193481 | 4521 | 4521 | 4521 | 4521 | 228818.5072 | 4521 | 4521 | 4521 | 4521 | 4521 | 4521 | 4521 | 4521 | 4521 | 4521 | 4521 | 4521 | 4521 | 4521 | 4521 | 121236.5072 | 8.348%
-500000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -500000 | #NUM!
-76010 | 1115 | 1115 | 1115 | 1115 | 89231.4224 | 1115 | 1115 | 1115 | 1115 | 1115 | 1115 | 1115 | 1115 | 1115 | 1115 | 1115 | 1115 | 1115 | 1115 | 1115 | 34406.4224 | 6.648%
-55719 | 1464 | 1464 | 1464 | 1464 | 66057.5921 | 1464 | 1464 | 1464 | 1464 | 1464 | 1464 | 1464 | 1464 | 1464 | 1464 | 1464 | 1464 | 1464 | 1464 | 1464 | 38154.5921 | 8.871%
-10334 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 5244 | 94546 | 50.73%
-6231 | 2000 | 2000 | 2000 | 2000 | 9223.4368 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 40992.4368 | 40.63%
-15643 | 2000 | 2000 | 2000 | 2000 | 20134.5243 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 42491.5243 | 21.98%
-144786 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | 2069 | -103406 | -9.79%
-20833 | 2500 | 2500 | 2500 | 2500 | 26651.1568 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 53318.1568 | 21.13%
-5075 | 543 | 543 | 543 | 543 | 6426.3159 | 543 | 543 | 543 | 543 | 543 | 543 | 543 | 543 | 543 | 543 | 543 | 543 | 543 | 543 | 543 | 11668.3159 | 19.7%
-465375 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 49212 | 518865 | 8.51%
-18031 | 500 | 500 | 500 | 500 | 21402.8708 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 12871.8708 | 9.126%
-1334862 | 33640 | 33640 | 33640 | 33640 | 1581110.9094 | 33640 | 33640 | 33640 | 33640 | 33640 | 33640 | 33640 | 33640 | 33640 | 33640 | 33640 | 33640 | 33640 | 33640 | 33640 | 885408.9094 | 8.68%
-69846 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 6097 | 52094 | 6.015%
-285791 | 0 | 0 | 0 | 0 | 331310.097 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45519.097 | 3%
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0%
-25509 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 15098 | 276451 | 59.18%
-541391 | 7500 | 7500 | 7500 | 7500 | 635120.5504 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 7500 | 236229.5504 | 6.476%
-77134 | 500 | 500 | 500 | 500 | 89919.4464 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 22285.4464 | 4.784%
-293398 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | 1214 | -269118 | -17.07%
-1617630 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | 39023 | -837170 | -6.122%
-187123 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 10144 | 15757 | 0.7827%
-577402 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 42719.5 | 276988 | 4.062%
-130023 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 8214 | 34257 | 2.339%
-424248 | 26327 | 26327 | 26327 | 26327 | 518146.7075 | 26327 | 26327 | 26327 | 26327 | 26327 | 26327 | 26327 | 26327 | 26327 | 26327 | 26327 | 26327 | 26327 | 26327 | 26327 | 594111.7075 | -100%
-295796 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | -285796 | -21.56%
-77464 | 1332 | 1332 | 1332 | 1332 | 91134.0069 | 1332 | 1332 | 1332 | 1332 | 1332 | 1332 | 1332 | 1332 | 1332 | 1332 | 1332 | 1332 | 1332 | 1332 | 1332 | 38978.0069 | 7.166%
-40139 | 2500 | 2500 | 2500 | 2500 | 49032.1021 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 56393.1021 | 14.29%
-17961 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | -7961 | -5.029%
-136921 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | -76921 | -6.833%
-6957 | 342 | 342 | 342 | 342 | 8407.0697 | 342 | 342 | 342 | 342 | 342 | 342 | 342 | 342 | 342 | 342 | 342 | 342 | 342 | 342 | 342 | 7948.0697 | 12.49%
-39831 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | -29831 | -10.63%
-87500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -87500 | -100%
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #VALUE!
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0%
-275604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -275604 | -100%
-27169865 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 17580230.7448 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 674184.5 | 3219871.2448 | 1.551%

## Comparing
By Priority
Nov 2004 Deferred
|  | Project | Total |  |  | Project | Maintenance |  | Difference
In |  | Cost | Savings |  |  | Cost | Cost
Project | Energy Conservation Measures | ($) | ($) |  |  | ($) | ($)
| PROJECT TOTALS |  |  |  |  | 27169865 | 13493800
URGENT
X | M35A Rebuild Chillers (2 at SEB) | 80202 | 1063 |  | D | 80202 | 0 | 0 | -80202
x | M21 Replace Ball Joints, HX, & Associated Controls | 87391 | 2500 |  | D | 87391 | 23400 | 23400 | -63991
X | High Temp Hot Water Sys. Trench Tunnels | 5800000 | 0 |  | CR | 5800000 |  | 4215600 | -1584400
|  |  |  | VAR to Library Drive |  |  | 1545000
|  |  |  | Anodes for cathodic protection |  |  | 61200
|  |  |  | SFH to SEB |  |  | 309000
|  |  |  | Existing tunnel repairs |  |  | 2060000
|  |  |  | Existing tunnel repairs |  |  | 240400
X | M20 Replace Air Compressor | 19380 | 500 |  | D | 19380 | 11300 | 11300 | -8080
X | Comprehensive Energy Analysis | 275604 | 0 |  |  | 275604 | 0 | 0 | -275604
|  |  |  | Sub-Total Urgent Projects |  | 6262577 | 4250300 | 4250300 | -2012277
CRITICAL
X | M32 Replace Air Handlers (7) | 1276824 | 17190 |  | D | 1276824 |  | 1653300 | 376476
|  |  |  | NFH |  |  | 412000
|  |  |  | OC |  |  | 1241300
X | M14 Repair Expansion Tank | 9960 | 300 |  | D | 9960 | 0 | 0 | -9960
X | M24 AC Computer Servers & Software Upgrade | 24033 | 549 |  | D | 24033 | 0 | 0 | -24033
X | M35B Replace Chillers (2 at Kresge) | 703156 | 4611 |  | D | 703156 | 618000 | 618000 | -85156
X | M43 Ice Storage System Modifications | 137437 | 4121 |  | D | 137437 | 0 | 0 | -137437
X | E2 Replace Secondary Electrical Switchgear | 168025 | 7482 |  | D | 168025 | 0 | 0 | -168025
X | M31 Fire Stop Around Conduits | 23330 | 0 |  | D | 23330 | 0 | 0 | -23330
X | M59 Replace Fluid Coolers (2) | 148819 | 189 |  | D | 148819 | 72100 | 72100 | -76719
X | M28 Replace North Interior & Exterior Doors | 79143 | 1135 |  | D | 79143 | 53600 | 53600 | -25543
X | A1(NFH) Replace Windows | 122068 | 1444 |  | D | 122068 | 78300 | 78300 | -43768
X | M37 Replace ALC with Honeywell Controls | 10319 | 1500 |  | PA | 10319 | 6200 | 6200 | -4119
X | M25 Replace Fume Hood Fans and Stacks | 487758 | 23047 |  | PA | 487758 |  | 565100 | 77342
|  |  |  | DHE hoods |  |  | 513600
|  |  |  | ERI DHE 406 and 425 |  |  | 51500
X | M23A Install 500 kW Backup Generator at CHP | 285791 | 0 |  | PA | 285791 | 306000 | 306000 | 20209
X | M23B Install Backup Generator at Dodge Hall ** | 500000 | 0 |  | PA | 500000 | 257500 | 257500 | -242500
X | M38 Replace Cooling Tower (5) | 1334862 | 33640 |  | CR | 1334862 |  | 322800 | -1012062
|  |  |  | DHE |  |  | 0
|  |  |  | KL |  |  | 0
|  |  |  | NFH |  |  | 11300
|  |  |  | OC |  |  | 0
|  |  |  | VAR |  |  | 311500
X | M1 Ductwork Repairs | 5075 | 543 |  | D | 5075 | 0 | 0 | -5075
X | M3 Repair Dampers & Add Occ. Sensor Control | 436295 | 8619 |  | D | 436295 | 0 | 0 | -436295
|  |  |  | Sub-Total Critical Projects |  | 5752895 | 3932900 | 3932900 | -1819995
| ** |  |  | Not required if T1 is selected
Indicates items to be bid by Oakland University
| D = |  |  | Deferred Maintenance (repairs/replacements past due)
| CR = |  |  | Capital Renewal (due for repair/replacement)
| PA = |  |  | Plant Adaptation (new requirements)
NEEDED
X | M22 Replace Boiler Controls | 193481 | 4521 |  | CR | 193481 | 0 | 0 | -193481
X | M27 Convert AHU-1 to Chilled Water | 76010 | 1115 |  | CR | 76010 | 0 | 0 | -76010
X | M34 Replace Dampers on AHUs - Add Air Blenders | 55719 | 1464 |  | D | 55719 |  | 87800 | 32081
|  |  |  | WH |  |  | 0
|  |  |  | KL |  |  | 87800
X | M9 Insulated Exterior Panels | 10334 | 5244 |  | D | 10334 | 43400 | 43400 | 33066
X | M8 Revise Pressure Control Piping | 6231 | 2000 |  | D | 6231 | 0 | 0 | -6231
X | M15 Gas Line Upgrade | 15643 | 2000 |  | D | 15643 | 0 | 0 | -15643
X | A1(OC) Replace Windows | 144786 | 2069 |  | CR | 144786 | 61800 | 61800 | -82986
X | M7 Re-pipe RAC HTHW Piping | 20833 | 2500 |  | D | 20833 | 0 | 0 | -20833
X | W1 Domestic Water Conservation Retrofit | 465375 | 49212 |  | CR | 465375 |  | 160900 | -304475
|  |  |  | DHE |  |  | 16100
|  |  |  | EH |  |  | 15800
|  |  |  | HHS |  |  | 9500
|  |  |  | KL |  |  | 17400
|  |  |  | OC |  |  | 12400
|  |  |  | OC-second item |  |  | 10300
|  |  |  | ODH |  |  | 16700
|  |  |  | SEB |  |  | 17500
|  |  |  | SFH |  |  | 17500
|  |  |  | USA |  |  | 0
|  |  |  | VAR |  |  | 15200
|  |  |  | WH |  |  | 12500
X | M26 Replace Room 408 RTU | 18031 | 500 |  | CR | 18031 | 21200 | 21200 | 3169
X | M41 VFD Chilled and Hot Water Pumps | 69846 | 6097 |  | PA | 69846 | 0 | 0 | -69846
X | T2 Connect SEB & Dodge Chilled Water | 25509 | 15098 |  | PA | 25509 | 0 | 0 | -25509
X | S1 Integrated Operating System | 541391 | 7500 |  | PA | 541391 | 0 | 0 | -541391
X | L3 Egress Lighting | 77134 | 500 |  | PA | 77134 | 20100 | 20100 | -57034
X | M17 New Dedicated Chiller | 293398 | 1214 |  | PA | 293398 | 51500 | 51500 | -241898
X | E1 Primary Electrical Service to East Campus | 1617630 | 39023 |  | PA | 1617630 | 1205100 | 1205100 | -412530
X | T3 Connect Varner & Elliot CHW Systems | 187123 | 10144 |  | PA | 187123 | 195700 | 195700 | 8577
X | L1 Lighting Retrofits and Occupancy Sensor | 577402 | 42719.5 |  | PA | 577402 |  | 94600 | -577402
|  |  |  | DHE |  |  | 8200
|  |  |  | HHS |  |  | 8200
|  |  |  | KL |  |  | 8200
|  |  |  | OC |  |  | 20600
|  |  |  | ODH |  |  | 10300
|  |  |  | SEB |  |  | 10300
|  |  |  | SFH |  |  | 12400
|  |  |  | VAR |  |  | 8200
|  |  |  | WH |  |  | 8200
X | L5 Corridor Lighting Retrofits | 130023 | 8214 |  | PA | 130023 | 0 | 0 | -130023
X | S2 Commission Hydronic Systems | 424248 | 26327 |  | PA | 424248 |  | 175500 | -248748
|  |  |  | Ghost flow of HTHW in NFH |  |  | 0
|  |  |  | BRS DHWH |  |  | 0
|  |  |  | BRS USG |  |  | 0
|  |  |  | BRS other |  |  | 103000
|  |  |  | RAC commissioning |  |  | 52500
|  |  |  | RAC separate reheat pipes |  |  | 0
|  |  |  | chilled water flows |  |  | 0
|  |  |  | Elliott Hall |  |  | 20000
|  |  |  | PH |  |  | 0
|  |  |  | HTHW sensors |  |  | 0
X | M29 Add Glycol to CHW System w/ Autofill | 295796 | 500 |  | PA | 295796 | 0 | 0 | -295796
X | M39 Replace Steam Boiler | 77464 | 1332 |  | CR | 77464 | 41200 | 41200 | -36264
X | S3 Utility Vision | 40139 | 2500 |  | PA | 40139 | 0 | 0 | -40139
X | M40 Add Zones for Heating Control | 17961 | 500 |  | PA | 17961 | 0 | 0 | -17961
X | M33 Increase Airflow (Kresge and O'Dowd) | 136921 | 3000 |  | PA | 136921 |  |  | -136921
|  |  |  | Kresge |  |  | 20600 | 20600
|  |  |  | ODH |  |  | 31900 | 31900
X | M5 Pipe Insulation | 6957 | 342 |  | PA | 6957 |  |  | -6957
|  |  |  | HAM |  |  | 5200 | 5200
|  |  |  | BRS |  |  | 4100 | 4100
X | M18 Chilled Water Piping Modifications | 39831 | 500 |  | PA | 39831 | 0 | 0
X | M36 Modify HVAC Sys to Reduce Noise (SFH) | 87500 | 0 |  | PA | 87500 | 0 | 0
|  |  |  | Sub-Total Needed Projects |  | 5652716 | 2220600 | 2220600 | -3461185
OTHER
X | T1 Cogeneration | 9501677 | 329616 |  | PA | 9501677 |  | 3090000 | -6411677
|  |  |  | two smaller HTHW generators |  |  | 3090000
|  |  |  | Sub-Total Other Project |  | 9501677 | 3090000 | 3090000 | -6411677
| PROJECT TOTALS | 17668188 | 344568.5 |  |  | 27169865 | 13493800 | 13493800 | -13705134
Note on G102: dsti: Add $100k for repairs